## 12.5 MW diesel no tax
12.5 MW Diesel Plant [no property tax]
[7 empty] | Weighted Average Cost of Capital | 4.92%
[5 empty] | Winter MW |  | Inflation Rate | 2%
Capital ($000) |  | 2019 | 32500 |  | 12.5 |  | Real Weighted Average Cost of Capital | 2.863%
[7 empty] | Life Cycle Cost ($000's) | 53337.523
Fixed O&M |  | 2019 | 806.25 | $000/yr
[7 empty] | Project LCOC ($/MW) at 2019$ | 175503.0295
Life |  |  | 40 | years |  |  | Project LCOC ($/MW) at 2024$ | 193769.5258
Year | 12.5 MW Diesel Plant [no property tax] |  |  |  |  | Year from In-service | Annual Winter Capacity MW, 12.5
| Year-End Balance | Depr | Return | O&M | Total
| $000 | $000 | $000 | $000 | $000
2019 | 31687.5 | 812.5 | 1579.0125 | 806.25 | 3197.7625 | 1 | 12.5
2020 | 30875 | 812.5 | 1539.0375 | 822.375 | 3173.9125 | 2 | 12.5
2021 | 30062.5 | 812.5 | 1499.0625 | 838.8225 | 3150.385 | 3 | 12.5
2022 | 29250 | 812.5 | 1459.0875 | 855.599 | 3127.1865 | 4 | 12.5
2023 | 28437.5 | 812.5 | 1419.1125 | 872.7109 | 3104.3234 | 5 | 12.5
2024 | 27625 | 812.5 | 1379.1375 | 890.1651 | 3081.8026 | 6 | 12.5
2025 | 26812.5 | 812.5 | 1339.1625 | 907.9685 | 3059.631 | 7 | 12.5
2026 | 26000 | 812.5 | 1299.1875 | 926.1278 | 3037.8153 | 8 | 12.5
2027 | 25187.5 | 812.5 | 1259.2125 | 944.6504 | 3016.3629 | 9 | 12.5
2028 | 24375 | 812.5 | 1219.2375 | 963.5434 | 2995.2809 | 10 | 12.5
2029 | 23562.5 | 812.5 | 1179.2625 | 982.8143 | 2974.5768 | 11 | 12.5
2030 | 22750 | 812.5 | 1139.2875 | 1002.4705 | 2954.258 | 12 | 12.5
2031 | 21937.5 | 812.5 | 1099.3125 | 1022.5199 | 2934.3324 | 13 | 12.5
2032 | 21125 | 812.5 | 1059.3375 | 1042.9703 | 2914.8078 | 14 | 12.5
2033 | 20312.5 | 812.5 | 1019.3625 | 1063.8298 | 2895.6923 | 15 | 12.5
2034 | 19500 | 812.5 | 979.3875 | 1085.1063 | 2876.9938 | 16 | 12.5
2035 | 18687.5 | 812.5 | 939.4125 | 1106.8085 | 2858.721 | 17 | 12.5
2036 | 17875 | 812.5 | 899.4375 | 1128.9446 | 2840.8821 | 18 | 12.5
2037 | 17062.5 | 812.5 | 859.4625 | 1151.5235 | 2823.486 | 19 | 12.5
2038 | 16250 | 812.5 | 819.4875 | 1174.554 | 2806.5415 | 20 | 12.5
2039 | 15437.5 | 812.5 | 779.5125 | 1198.0451 | 2790.0576 | 21 | 12.5
2040 | 14625 | 812.5 | 739.5375 | 1222.006 | 2774.0435 | 22 | 12.5
2041 | 13812.5 | 812.5 | 699.5625 | 1246.4461 | 2758.5086 | 23 | 12.5
2042 | 13000 | 812.5 | 659.5875 | 1271.375 | 2743.4625 | 24 | 12.5
2043 | 12187.5 | 812.5 | 619.6125 | 1296.8025 | 2728.915 | 25 | 12.5
2044 | 11375 | 812.5 | 579.6375 | 1322.7386 | 2714.8761 | 26 | 12.5
2045 | 10562.5 | 812.5 | 539.6625 | 1349.1934 | 2701.3559 | 27 | 12.5
2046 | 9750 | 812.5 | 499.6875 | 1376.1772 | 2688.3647 | 28 | 12.5
2047 | 8937.5 | 812.5 | 459.7125 | 1403.7008 | 2675.9133 | 29 | 12.5
2048 | 8125 | 812.5 | 419.7375 | 1431.7748 | 2664.0123 | 30 | 12.5
2049 | 7312.5 | 812.5 | 379.7625 | 1460.4103 | 2652.6728 | 31 | 12.5
2050 | 6500 | 812.5 | 339.7875 | 1489.6185 | 2641.906 | 32 | 12.5
2051 | 5687.5 | 812.5 | 299.8125 | 1519.4109 | 2631.7234 | 33 | 12.5
2052 | 4875 | 812.5 | 259.8375 | 1549.7991 | 2622.1366 | 34 | 12.5
2053 | 4062.5 | 812.5 | 219.8625 | 1580.7951 | 2613.1576 | 35 | 12.5
2054 | 3250 | 812.5 | 179.8875 | 1612.411 | 2604.7985 | 36 | 12.5
2055 | 2437.5 | 812.5 | 139.9125 | 1644.6592 | 2597.0717 | 37 | 12.5
2056 | 1625 | 812.5 | 99.9375 | 1677.5524 | 2589.9899 | 38 | 12.5
2057 | 812.5 | 812.5 | 59.9625 | 1711.1034 | 2583.5659 | 39 | 12.5
2058 | 0 | 812.5 | 19.9875 | 1745.3255 | 2577.813 | 40 | 12.5
NPV |  | 14789.349 | 18945.833 | 19602.341 | 53337.523
Notes:
1. As indicated in Exhibit B-5, Amended EPA submission page 26, footnote 38 the levelized cost of capacity (LCOC) for new 12.5 diesel plant is based on BESS Hearing, Undertaking #7. The calculation in the original Midgard estimate assumed YEC weighted average cost of capital (WACC) at 4.92%.

## 12.5 MW diesel with tax
12.5 MW Diesel Plant [with property tax]
[7 empty] | Weighted Average Cost of Capital | 4.794%
[5 empty] | Winter MW |  | Inflation Rate | 2%
Capital ($000) |  | 2019 | 32500 |  | 12.5 |  | Real Weighted Average Cost of Capital | 2.739%
[7 empty] | Life Cycle Cost ($000's) | 61886.9571
Fixed O&M [incl. property tax] |  | 2019 | 1137.5 | $000/yr
[7 empty] | Project LCOC ($/MW) at 2019$ | 199782.5207
Life |  |  | 40 | years |  |  | Project LCOC ($/MW) at 2024$ | 220576.0459
Year | 12.5 MW Diesel Plant [with property tax] |  |  |  |  | Year from In-service | Annual Winter Capacity MW, 12.5
| Year-End Balance | Depr | Return | O&M | Total
| $000 | $000 | $000 | $000 | $000
2019 | 31687.5 | 812.5 | 1538.5744 | 1137.5 | 3488.5744 | 1 | 12.5
2020 | 30875 | 812.5 | 1499.6231 | 1160.25 | 3472.3731 | 2 | 12.5
2021 | 30062.5 | 812.5 | 1460.6719 | 1183.455 | 3456.6269 | 3 | 12.5
2022 | 29250 | 812.5 | 1421.7206 | 1207.1241 | 3441.3447 | 4 | 12.5
2023 | 28437.5 | 812.5 | 1382.7694 | 1231.2666 | 3426.536 | 5 | 12.5
2024 | 27625 | 812.5 | 1343.8181 | 1255.8919 | 3412.21 | 6 | 12.5
2025 | 26812.5 | 812.5 | 1304.8669 | 1281.0098 | 3398.3766 | 7 | 12.5
2026 | 26000 | 812.5 | 1265.9156 | 1306.6299 | 3385.0456 | 8 | 12.5
2027 | 25187.5 | 812.5 | 1226.9644 | 1332.7625 | 3372.2269 | 9 | 12.5
2028 | 24375 | 812.5 | 1188.0131 | 1359.4178 | 3359.9309 | 10 | 12.5
2029 | 23562.5 | 812.5 | 1149.0619 | 1386.6062 | 3348.168 | 11 | 12.5
2030 | 22750 | 812.5 | 1110.1106 | 1414.3383 | 3336.9489 | 12 | 12.5
2031 | 21937.5 | 812.5 | 1071.1594 | 1442.625 | 3326.2844 | 13 | 12.5
2032 | 21125 | 812.5 | 1032.2081 | 1471.4775 | 3316.1857 | 14 | 12.5
2033 | 20312.5 | 812.5 | 993.2569 | 1500.9071 | 3306.664 | 15 | 12.5
2034 | 19500 | 812.5 | 954.3056 | 1530.9252 | 3297.7309 | 16 | 12.5
2035 | 18687.5 | 812.5 | 915.3544 | 1561.5437 | 3289.3981 | 17 | 12.5
2036 | 17875 | 812.5 | 876.4031 | 1592.7746 | 3281.6777 | 18 | 12.5
2037 | 17062.5 | 812.5 | 837.4519 | 1624.6301 | 3274.582 | 19 | 12.5
2038 | 16250 | 812.5 | 798.5006 | 1657.1227 | 3268.1233 | 20 | 12.5
2039 | 15437.5 | 812.5 | 759.5494 | 1690.2652 | 3262.3145 | 21 | 12.5
2040 | 14625 | 812.5 | 720.5981 | 1724.0705 | 3257.1686 | 22 | 12.5
2041 | 13812.5 | 812.5 | 681.6469 | 1758.5519 | 3252.6988 | 23 | 12.5
2042 | 13000 | 812.5 | 642.6956 | 1793.7229 | 3248.9185 | 24 | 12.5
2043 | 12187.5 | 812.5 | 603.7444 | 1829.5974 | 3245.8417 | 25 | 12.5
2044 | 11375 | 812.5 | 564.7931 | 1866.1893 | 3243.4824 | 26 | 12.5
2045 | 10562.5 | 812.5 | 525.8419 | 1903.5131 | 3241.855 | 27 | 12.5
2046 | 9750 | 812.5 | 486.8906 | 1941.5834 | 3240.974 | 28 | 12.5
2047 | 8937.5 | 812.5 | 447.9394 | 1980.415 | 3240.8544 | 29 | 12.5
2048 | 8125 | 812.5 | 408.9881 | 2020.0233 | 3241.5115 | 30 | 12.5
2049 | 7312.5 | 812.5 | 370.0369 | 2060.4238 | 3242.9607 | 31 | 12.5
2050 | 6500 | 812.5 | 331.0856 | 2101.6323 | 3245.2179 | 32 | 12.5
2051 | 5687.5 | 812.5 | 292.1344 | 2143.6649 | 3248.2993 | 33 | 12.5
2052 | 4875 | 812.5 | 253.1831 | 2186.5382 | 3252.2213 | 34 | 12.5
2053 | 4062.5 | 812.5 | 214.2319 | 2230.269 | 3257.0009 | 35 | 12.5
2054 | 3250 | 812.5 | 175.2806 | 2274.8744 | 3262.655 | 36 | 12.5
2055 | 2437.5 | 812.5 | 136.3294 | 2320.3719 | 3269.2012 | 37 | 12.5
2056 | 1625 | 812.5 | 97.3781 | 2366.7793 | 3276.6574 | 38 | 12.5
2057 | 812.5 | 812.5 | 58.4269 | 2414.1149 | 3285.0418 | 39 | 12.5
2058 | 0 | 812.5 | 19.4756 | 2462.3972 | 3294.3728 | 40 | 12.5
NPV |  | 15031.7592 | 18665.9796 | 28189.2183 | 61886.9571
Notes:
1. As indicated in Exhibit B-5, Amended EPA submission page 26, footnote 38 the levelized cost of capacity (LCOC) for new 12.5 diesel plant is based on BESS Hearing, Undertaking #7. For the undertaking the LCOC calculation was revised using YEC weighted average cost of capital (WACC) at 4.79% based on YEC 2021 GRA Application [based on forecast interest rate of 2.19% for new incremental long-term debt compared to 2.81% weighted average cost of debt].
2. BESS Hearing, Undertaking #7 noted that the fixed O&M with property tax would be at least $91,000/MW [$64,000/MW without property tax].