## Table 1 - LWRF 2022
Table 1: Forecast LWRF calculations 2022
2022 Forecast [Q2 Report]
| Line No |  |  |  | Notes
| L1a | Diesel Fuel Cost per kW.h | 20.5067 | cents/kW.h | 2021 GRA Average Fuel cost
| L1b | LNG Fuel Cost per kW.h | 18.1363 | cents/kW.h
| L1c | GRA YIS firm Load forecast | 538726.0837 | MW.h
| L1d | GRA LTA Thermal Generation forecast | 85929.8845 | MW.h
Calculation of Thermal Cost to Charge (Refund) LWRF
Assumptions
| L2 | YEC Grid load | 541409.6611 | MW.h | 2022 Full-year forecast
| L3 | Fish Lake | 7817.7439 | MW.h | 2022 Full-year forecast
| L4=L2+L3 | Total Grid load | 549227.405 | MW.h
Assumed Actual Generation Sources
| L5 | YECL Fish Lake | 7817.7439 | MW.h | 2022 Full-year forecast
| L6 | YEC Hydro | 495926.6721 | MW.h | 2022 Full-year forecast
| L7 | YEC Thermal | 43371.9254 | MW.h | 2022 Full-year forecast
|  | Diesel | 10562.7214 | MW.h | 2022 Full-year forecast
|  | LNG | 32809.204 | MW.h | 2022 Full-year forecast
| L7a | YEC Diesel/LNG charged to capital, RFID and maintenance | 769.5556 | MW.h | 2022 Full-year forecast
| L7a1 | Diesel | 543.6813 | MW.h | 2022 Full-year forecast
| L7a2 | LNG | 225.8743 | MW.h | 2022 Full-year forecast
| L7b=L7-L7a | YEC Net Diesel/LNG | 42602.3698 | MW.h | 2022 Full-year forecast
| L7b1 | Diesel | 10019.0401 | MW.h | 2022 Full-year forecast
| L7b2 | LNG | 32583.3297 | MW.h | 2022 Full-year forecast
| L7b3=L7b1/L7b | Diesel % of total net thermal | 23.52%
| L8 | IPPs | 2111.0636 | MW.h | 2022 Full-year forecast
| L9 | Total Grid load | 549227.405 | MW.h
LTA Expected Generation Sources
| L10 | AEY Fish Lake (expected) | 8730 | MW.h | Expected based on LTA
| L11 | IPPs (expected) | 2.456 | MW.h | Expected based on 2021 GRA
| L12=L9-L10-L11 | YEC Grid load net of expected Fish Lake and Wind | 540494.949 | MW.h
| L13=L12-L1c+L11 | Load Variance | 1771.3213 | MW.h
| L14 | LTA Thermal Generation at Actual Load | 85014.6463 | MW.h | Estimated based on LTA Thermal Calculation Table [please see below]
| L15=L7b/L14 | Actual Thermal Generation as % of LTA Thermal Generation | 50.11%
| L16=L14 | Expected YEC Thermal Generation in Rates | 85014.6463 | MW.h
| L16a | Diesel | 10019.0401 | MW.h | Total thermal less LNG below.
| L16b | LNG | 74995.6062 | MW.h | 90% of total thermal, subject to not exceeding total thermal less estimated diesel (when L15>100%) or actual diesel (when L15<100%).
| L17=L7b | YEC Net Thermal Generation | 42602.3698 | MW.h
| L17a=L7b1 | Diesel | 10019.0401 | MW.h
| L17b=L7b2 | LNG | 32583.3297 | MW.h
| L18=L17-L15 | YEC Thermal Generation to be included in LWRF | -42412.2765 | MW.h
| L18a=L17a-L16a | YEC Diesel Generation to be included in LWRF | 0 | MW.h
| L18b=L15b-L16b | YEC LNG Generation to be included in LWRF | -42412.2765 | MW.h
| L19=L1axL18a+L1bxL18b | Incremental YEC Thermal Generation Cost to Charge (Refund) LWRF ($000s) | -7691.9966

## Table 2-LWRF balance
Table 1-2: LWRF Continuity Schedule
Line | Activity | 2022 Forecast
($000s)
A | Opening Balance1 | 2743.5039
B | Incremental Diesel Generation Cost to Charge/(Refund)2 to LWRF | -7691.9966
C=B | Total LWRF operation for YEC
| YEC pays to LWRF | 7691.9966
| YEC withdraws from LWRF | 0
D=A+C | LWRF Balance after Annual Operation | 10435.5005
E | Interest on LWRF Balance3 | 180.4397
F=D+E | LWRF Balance after Interest charge | 10615.9403
G | Rider E (Rebate)/Collections [January - December] | 0
H=F+G | LWRF Ending Balance | 10615.9403
I | LWRF Cap 4 | `+/-16000
J | LWRF Rebate/(Collections) Required | 0
Notes:
1. Opening Balance is based on Table 1-2 of July 29, 2022 Annual Filings for 2021 and reflects 2021 Ending Balance.
2. Based on calculations in Table 1.
3. Per the March 11, 1996 letter recording the settlements [provided as Exhibit B-16 in the 2008/2009 GRA] the DCF fund is to attract interest based upon the short/intermediate term bond rates in which the Companies may invest the fund and any negative balances would only attract interest at the lowest short-term borrowing rate available to the Companies through a line of credit.
4. LWRF cap was increased to +/- $16 million as per YUB Order 2022-03.