## Sheet1
ATCO Electric Yukon (AEY)
2023 - 2024 General Rate Application (GRA)
Direction No. 16, Reference: Paragraph 278
Line No. |  | System Improvement Projects
1 |  |  | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | Annual Program
2 |  | System Performance - Preventative(1) | 1 | 2 | 3 | 1 | 2 | 3 | 10 | 2
3 |  | System Performance - Corrective(2) | 2 | 0 | 1 | 0 | 0 | 1 | 1 | 0
4 |  | Life Extension | 3 | 0 | 6 | 2 | 4 | 2 | 3 | 1
5 |  | System Replacement | 2 | 1 | 1 | 0 | 2 | 0 | 1 | 4
6 |  | Customer Driven and/or Assigned | 1 | 3 | 3 | 4 | 5 | 1 | 4 | 0
7
8 | 1. Preventative System Performance
9 |  | Preventative system performance projects are determined based on operational drivers and address potential
10 |  | system imbalance, voltage or capacity issues before degradation of system or outages occur.
11
12 |  | Project Name | I/S Year | Driver |  |  |  | Business Case | Line on 9.2 | Note
13 |  | Annual Right of Way Widening | Annual | Feeder-specific stats are used for ROW selection |  |  |  | #12, #26 | 182
14 |  | General Clearance Upgrades/Fixes | Annual | Conductor clearance concerns, trespass issues |  |  |  |  | 186
15 |  | AEY 102 Lambert Encroachment | 2024 | Clearance issue |  |  |  |  | 206
16 |  | 3 Phase Hotsprings Rd | 2020 | System balance |  |  |  | #05 | 218
17 |  | AEY Old Crow Volt Issues-Loop | 2019 | System voltage |  |  |  |  | 227
18 |  | AEY 25kV A.Hwy Hamilton Tie | 2018 | System alternative feed |  |  |  | #11 | 228
19 |  | Alaska Highway to Mcintyre Tie Stage 2 | 2019 | System alternative feed |  |  |  | #11 | 229
20 |  | Teslin Substn Metering | 2018 | System power quality |  |  |  |  | 230
21 |  | AEY SCADA Swtch at Pinerdg | 2023 | Operational capability |  |  |  |  | 238 | 1
22 |  | Carcross Road Voltage Improvements | 2020 | System voltage |  |  |  | #17 | 247
23 |  | Riverdale Load Sectionalizing | 2020 | Operational capability |  |  |  |  | 256
24 |  | AEY Hamilton to Alaska Highway 25kV Tie | 2021 | System alternative feed |  |  |  |  | 262
25 |  | AEY New Subst Mayo Rd | 2024 | Capacity |  |  |  | #25 | 266 | 2
26 |  | AEY Voltage Issues Gold Road | 2022 | System voltage |  |  |  |  | 267
27 |  | New Substation Mayo Road | 2024 | Capacity |  |  |  | #25 | 272 | 2
28 |  | Reconductor Mayo Rd Mainline - Stage 3 | 2022 | Protection and capacity |  |  |  | #06 | 273
29 |  | AEY Dogwood voltage improvement | 2024 | Voltage |  |  |  |  | 278
30 |  | AEY DWCI - New 12.5kV substation | 2026 | Capacity |  |  |  |  | 279
31 |  | AEY New Substation Whistle Bend - Leota | 2025 | Capacity |  |  |  | #25 | 281
32 |  | AEY SCADA Pineridge Switch | 2023 | Operational capability |  |  |  |  | 283 | 1
33 |  | AEY Voltage Improvement Destruction Bay | 2023 | Voltage |  |  |  |  | 286
34 |  | AEY Hillcrest Voltage Improvement | 2024 | Voltage |  |  |  |  | 289
35 |  | AEY Pelly Crossing Voltage Improvement | 2024 | Voltage |  |  |  |  | 290
36 |  | Power System Assessment - YEC and AEY | 2024 | Capacity |  |  |  |  | 292
37 |  | AEY 6L19 voltage improvement | 2024 | Voltage |  |  |  | #30 | 296
38 |  | AEY Carcross PQ monitoring | 2024 | System power quality |  |  |  |  | 299
39 |  | Old Crow voltage improvement - reconductor | 2024 | Voltage |  |  |  | #29 | 301
40
41 |  | Note 1 - Line 21 is the actual costs for the SCADA Switch at Pineridge expended prior to the test years and line 32 is the forecast cost in the test year
42 |  | Note 2 - Line 25 is the actual planning expenditure for the Mayo Road Substation while line 27 is the forecast cost for the Mayo Road Substation.
43
44 | 2. Corrective System Performance
45 |  | Corrective system performance projects address system performance issues.
46
47 |  | Project Name | I/S Year | KPI |  |  | Post Improvement KPI |  |  | Business Case | Line on 9.2
48 |  | AEY CCC Rd Rebuild | 2018 | Outage count S6709 (2015-2018): 8 |  |  | Outage Count S6709 (2019-2022): 0 |  |  |  | 217
49 |  | AEY Wtsn Lk Vertical Strcts | 2018 | SAIFI (Watson Lake - 2017 System Wide): 5.25 |  |  | SAIFI (Watson Lake - 2019 System Wide): 8.9 |  |  |  | 233
50 |  | AEY Cowley Rd Rebuild SKH | 2020 | Outage count S6711 (2015-2018): 5 |  |  | Outage Count S6711 (2019-2022): 0 |  |  |  | 236
51 |  | AEY Choutla Long Span Rebuild | 2023 | SAIFI (5L600, all outages, 2021): 0.19 |  |  | Project not completed yet |  |  |  | 277
52 |  | Watson Lake 5L621 Upgrade | 2024 | SAIFI (Watson Lake - 2017 System Wide): 5.25 |  |  | Project not completed yet |  |  |  | 291