## LIFE
ATCO Electric Yukon
LIFE PEER REVIEW
RELATED TO UTILITY PLANT AS OF DECEMBER 31, 2022
DEPRECIATION RELATED TO RECOVERY OF ORIGINAL COST OF INVESTMENT
Asset Class # | Old Account | Description | Current (From Compliance Filing) | NTPC | BC Hydro | FortisBC Electric | Manitoba Hydro | ATCO Electric - Transmission (2018) & Dist. (2017) | Recommended Life | Recommended Curve | Notes
30200 | 49100 | Franchises and Consents | N/A
30300 | 49550 | Intangible Other | N/A
33100 | 42200 | Structures and Improvements | 72-R2 |  |  | 60-S1.5 | 65-S3 |  | 70 | R2
33200 | 42300 | Reservoirs, Dams, and Waterways | 103-R3 |  | 100-R3 | 70-S2.5 | 125-R4 |  | 100 | R3
33300 | 42500 | Water Wheels, Turbines and Generators | 85-R3 |  | 55-R3 | 70-R2.5 | 65-S3 |  | 85 | R3
33400 | 42600 | Accessory Electric Equipment | 45-R3 |  |  | 40-R2.5 |  |  | 40 | R2.5
33500 | 42700 | Miscellaneous Power Plant Equipment | 30-R2 |  |  | 51-R4 |  |  | 51 | R4
34120 | 44200 | Int Combust Structures | 40-R2.5 | 35-S3 |  |  | 30-S3 | 50-R2 | 40 | R2
34220 | 44400 | Int Combust Fuel Holders, Producers and Accessories | 35-R4 | 27-R2 |  |  | 27-R2.5 | 35-R3 | 40 | R3
34320 | 44500 | Int Combust Generators | 26-S2.5 | 32-R3 | 30-R3 |  | 30-R2 | 25-R3 | 26 | S2
34520 | 44600 | Int Combust Accessory | 35-R3 | 28-R2.5 |  |  |  | 35-R2 | 35 | R3
34620 | 44700 | Int Combust Miscellaneous | 40-R3 | 23-R2 |  |  |  | 40-R3 | 40 | R3
35300 | 45700 | Transmission Station Equipment | 50-R4 | 32-R3 |  | 50-R4 |  | 49-R3 | 50 | R3
36010 | 47100 | Land Rights | 75-R3 |  |  |  |  | 75-SQ | 75 | R3
36200 | 47710 | Distribution Station Equipment | 40-R4 | 25-S2.5 |  | 50-R3 | 40-R3 | 55-R2.5 | 40 | R2.5
36210 | 48600 | System Communication & Control | 15-SQ |  |  |  |  | 15-R2 | 15 | SQ
36400 | 47300 | Poles, Towers and Fixtures | 45-R3 | 50-R2 | 50-R2 | 50-R3 | 60-S0 | 45-R2.5 | 50 | R2
36500 | 47400 | Overhead Conductors and Devices | 45-R4 | 55-R4 | 50-R3 | 55-R2.5 | 60-R1 | 65-R3 | 50 | R3
36510 | 47410 | Overhead Services | 45-R3 | 55-R5 | 45-R3 |  | 35-R1.5 | 50-R2.5 | 50 | R2.5
36700 | 47500 | Underground Conductor and Devices | 45-R3 | 30-R5 | 40-R2 |  | 50-S1 | 55-R3.5 | 50 | R3
36710 | 47510 | Underground Services | 40-R4 | 55-R5 | 45-R3 |  | 35-R1.5 | 40-R3 | 50 | R4
36800 | 47910 | Line Transformers | 45-R3 | 50-R3 | 40-R4 | 37-R3 |  | 40-R1 | 45 | R2.5
37000 | 47610 | Conventional Meters | 15-L0 | 18-L1 | 20-R1 | 20-R1 | 15-L3 | 18-R1.5 | 15 | R0.5
37100 | 47630 | Automated Meters | 15-R2.5 |  | 20-R4 | 10-R0.5 | 26-L1.5 | 15-R2.5 | 15 | R2.5
37300 | 47810 | Street Lights | 30-R3 | 45-R2 | 40-R3 |  | 50-L3 | 43-R3 | 30 | R3
37310 | 47820 | Sentinel Lights | 23-R2 | 45-R2 |  |  |  | 40-R1 | 23 | R2
39000 | 48200 | Structures and Improvements | 40-L3 | 65-R1.5 |  | 35-S1 | 65-R3 | 45-R2.5 | 40 | L3
39001 | 48820 | Structures and Improvements - Houses | 40-R3 | 25-R0.5 |  |  |  | 12-L0 | 40 | R3
39100 | 48300 | Office Furniture and Equipment | 15-SQ | 15-SQ |  | 15-SQ | 20-SQ | 15-SQ | 15 | SQ
39110 | 48320 | Computer Hardware & Voice and Data Network Equipment | 5-SQ | 5-SQ |  | 5-SQ | 5-SQ | 5-SQ | 5 | SQ
39122 | 49602 | Computer Software and Applications Major (10 YR) | 10-S3 | 10-SQ | 10-SQ | 8-SQ | 10-SQ | 10-SQ | 10 | SQ
39210 | 48401 | Transportation Equipment, Fleet Vehicles, Category 1 | 12-L0 | 9-R2 | 10-L3 | 12-L1 | 10-L3 | 8-L1.5 | 12 | L3
39220 | 48401 | Transportation Equipment, Fleet Vehicles, Category 2 | 12-L0 | 9-R2 | 10-L3 | 16-L2.5 | 11-L3 | 9-L2 | 12 | L3
39230 | 48401 | Transportation Equipment, Fleet Vehicles, Category 3 | 12-L0 | 9-R2 | 12-L3 |  | 17-S3 | 19-S0 | 15 | L3
39240 | 48401 | Transportation Equipment, Fleet Vehicles, Category 4 | 12-L0 | 9-R2 | 14-L3 |  |  | 11-L2.5 | 12 | L0
39400 | 48500 | Tools, Shop, Garage, Stores and Laboratory Equipment | 15-SQ | 15-SQ | 15-SQ | 15-SQ | 15-SQ | 10-SQ | 15 | SQ

## SALVAGE
ATCO Electric Yukon
SALVAGE PEER REVIEW
RELATED TO UTILITY PLANT AS OF DECEMBER 31, 2022
DEPRECIATION RELATED TO RECOVERY OF ORIGINAL COST OF INVESTMENT
Asset Class # | Old Account | Description | Current (From Compliance Filing) - None Approved | NTPC | BC Hydro | FortisBC Electric | Manitoba Hydro | AET - Transmission & Dist. (REQUESTED) | Recommended Life | Recommended Curve | Notes
30200 | 49100 | Franchises and Consents | N/A
30300 | 49550 | Intangible Other | N/A
33100 | 42200 | Structures and Improvements | -10 |  |  | -10% | 0%
33200 | 42300 | Reservoirs, Dams, and Waterways | -10 |  | 0% | -25% | 0%
33300 | 42500 | Water Wheels, Turbines and Generators | -10 |  | 0% | -30% | 0%
33400 | 42600 | Accessory Electric Equipment | -10 |  |  | -25% | 0%
33500 | 42700 | Miscellaneous Power Plant Equipment | -10 |  |  | -15% | 0%
34120 | 44200 | Int Combust Structures | -10 | -13% |  |  | 0% | -185%
34220 | 44400 | Int Combust Fuel Holders, Producers and Accessories | -20 | -25% |  |  | 0% | -172%
34320 | 44500 | Int Combust Generators | -10 | -5% | 0% |  | 0% | -12%
34520 | 44600 | Int Combust Accessory | 0 | -8% |  |  | 0% | -17%
34620 | 44700 | Int Combust Miscellaneous | 0 | 0% |  |  | 0% | -19%
35300 | 45700 | Station Equipment | -10 | -10% |  | -15% | 0% | 0%
36010 | 47100 | Land Rights | 0 |  |  |  | 0%
36200 | 47710 | Station Equipment | -10 | 0% |  | -30% | 0% | -5%
36210 | 48600 | System Communication & Control | 0 |  |  |  | 0%
36400 | 47300 | Poles, Towers and Fixtures | -75 | -5% | 0% | -40% | 0% | -65%
36500 | 47400 | Overhead Conductors and Devices | -80 | -5% | 0% | -40% | 0% | -65%
36510 | 47410 | Overhead Services | -10 | -8% | 0% | 0% | 0% | 0%
36700 | 47500 | Underground Conductor and Devices | -50 | 0% | 0% | 0% | 0% | -10%
36710 | 47510 | Underground Services | -10 | -8% | 0% | 0% | 0% | 0%
36800 | 47910 | Line Transformers | -10 | -5% | 0% | -40% | 0% | 5%
37000 | 47610 | Conventional Meters | 0 | 0% | 0% | 0% | 0% | 0%
37100 | 47630 | Automated Meters | 0 | 0% | 0% | 0% | 0% | 0%
37300 | 47810 | Street Lights | -10 | -8% | 0% | -20% | 0% | -10%
37310 | 47820 | Sentinel Lights | 0 | 0% |  |  | 0% | 20%
39000 | 48200 | Structures and Improvements | 0 | 0% |  | 0% | 0% | -5%
39001 | 48820 | Structures and Improvements - Houses | 10 | 0% |  | 0% | 0% | 85%
39100 | 48300 | Office Furniture and Equipment | 0 | 0% |  | 0% | 0% | 0%
39110 | 48320 | Computer Hardware & Voice and Data Network Equipment | 0 | 0% |  | 0% | 0% | 0%
39122 | 49602 | Computer Software and Applications Major (10 YR) | 10 | 0% | 0% | 0% | 0% | 0%
39210 | 48401 | Transportation Equipment, Fleet Vehicles, Category 1 | 25 | 5% | 0% | 15% | 0% | 12% |  |  | All part of 484.00 in previous study
39220 | 48401 | Transportation Equipment, Fleet Vehicles, Category 2 | 25 | 5% | 0% | 15% | 0% | 10% |  |  | All part of 484.00 in previous study
39230 | 48401 | Transportation Equipment, Fleet Vehicles, Category 3 | 25 | 5% | 0% | 15% | 0% | 20% |  |  | All part of 484.00 in previous study
39240 | 48401 | Transportation Equipment, Fleet Vehicles, Category 4 | 25 | 5% | 0% | 15% | 0% | 20% |  |  | All part of 484.00 in previous study
39400 | 48500 | Tools, Shop, Garage, Stores and Laboratory Equipment | 0 | 0% | 0% |  | 0%