## 5 MW - Faro (10 years)
YEC 2023/24 GRA
YUB-YEC-1-48 Attachment 2
Diesel Replacement Options - Faro 5 MW
[6 empty] | Weighted Average Cost of Capital | 6.018%
Winter MW |  | 5 |  |  |  | Inflation Rate | 2%
Capital ($000) | 2024 | 18175 |  |  |  | Real Weighted Average Cost of Capital | 3.939%
Fixed O&M | 2020 | 85 | $000/yr
Assumed Life |  | 40 | years |  |  | PV of 10 Year Cost at 2024$ ($000) | 11884.189
[6 empty] | Project LCOC for 10 Years ($/MW) at 2024$ | 281084.0182
Year | Diesel Replacement Options - Faro 5 MW |  |  |  |  | Year from In-service | Annual Winter Capacity MW, 5
| Year-End Balance | Depr | Return | Fixed O&M | Total
| $000 | $000 | $000 | $000 | $000
2024 | 17720.625 | 454.375 | 1080.0994 | 92.0067 | 1626.4811 | 1 | 5
2025 | 17266.25 | 454.375 | 1052.7551 | 93.8469 | 1600.9769 | 2 | 5
2026 | 16811.875 | 454.375 | 1025.4108 | 95.7238 | 1575.5096 | 3 | 5
2027 | 16357.5 | 454.375 | 998.0665 | 97.6383 | 1550.0798 | 4 | 5
2028 | 15903.125 | 454.375 | 970.7222 | 99.591 | 1524.6883 | 5 | 5
2029 | 15448.75 | 454.375 | 943.3779 | 101.5829 | 1499.3358 | 6 | 5
2030 | 14994.375 | 454.375 | 916.0336 | 103.6145 | 1474.0232 | 7 | 5
2031 | 14540 | 454.375 | 888.6893 | 105.6868 | 1448.7512 | 8 | 5
2032 | 14085.625 | 454.375 | 861.3451 | 107.8006 | 1423.5206 | 9 | 5
2033 | 13631.25 | 454.375 | 834.0008 | 109.9566 | 1398.3323 | 10 | 5
NPV |  |  |  |  | 11884.189
Notes:
1. Faro diesel replacement cost as per Table 5.1A-1.1 in Tab 5.
2. Weighted average cost of capital is based on proposed ROE at 8.70% and new long term debt cost at 4.23%.