## Table 3.4-4
Table 3.4-4: Average Annual Thermal Generation (Averaged Load Years for 35 Water Years)
| Average Thermal Generation by water year (GW.h) |  |  |  |  | Distribution of Annual Water Year Levels
Water Year | Load at 420 GW.h [approx. 2018 GRA load level] | Load at 380 GW.h [approx. 2018 GRA load level no mines] | Load at 450 GW.h [approx. 2018 GRA load level plus 30 GW.h new mine load] | Load at 490 GW.h [approx. 2018 GRA load level plus VG load] |  | % of Years not less than | Load at 420 GW.h [approx. 2018 GRA load level] | Load at 380 GW.h [approx. 2018 GRA load level no mines] | Load at 450 GW.h [approx. 2018 GRA load level plus 30 GW.h new mine load] | Load at 490 GW.h [approx. 2018 GRA load level plus VG load]
1981 | 0.2415 | 0.0276 | 0.7082 | 20.0928 | 1 | 2.857% | 107.4973 | 55.2074 | 116.9837 | 125.5053
1982 | 0.2415 | 0.0276 | 0.7082 | 51.7677 | 2 | 5.714% | 58.3405 | 18.6544 | 76.7881 | 120.3664
1983 | 0.2415 | 0.0276 | 0.7082 | 52.7168 | 3 | 8.571% | 53.8236 | 6.1128 | 71.2312 | 113.075
1984 | 0.378 | 0.0276 | 31.0003 | 85.4952 | 4 | 11.43% | 50.0742 | 0.5719 | 70.7936 | 105.898
1985 | 0.2634 | 0.0276 | 43.9328 | 66.4788 | 5 | 14.29% | 35.3968 | 0.0276 | 61.2394 | 101.6039
1986 | 0.3517 | 0.0276 | 48.0289 | 59.1922 | 6 | 17.14% | 33.1516 | 0.0276 | 58.5691 | 85.4952
1987 | 0.2415 | 0.0276 | 27.6642 | 46.0141 | 7 | 20% | 31.1607 | 0.0276 | 54.1886 | 66.4788
1988 | 0.2415 | 0.0276 | 32.4421 | 46.7347 | 8 | 22.86% | 23.9796 | 0.0276 | 48.0289 | 66.155
1989 | 0.2415 | 0.0276 | 12.927 | 21.7799 | 9 | 25.71% | 16.6831 | 0.0276 | 43.9328 | 65.3935
1990 | 0.2415 | 0.0276 | 14.9482 | 33.516 | 10 | 28.57% | 14.1929 | 0.0276 | 35.3158 | 64.0426
1991 | 0.2415 | 0.0276 | 3.3236 | 16.0004 | 11 | 31.43% | 13.84 | 0.0276 | 32.4421 | 61.8638
1992 | 0.2415 | 0.0276 | 1.6416 | 5.7728 | 12 | 34.29% | 12.5812 | 0.0276 | 31.3595 | 59.7999
1993 | 0.2415 | 0.0276 | 2.8123 | 12.6429 | 13 | 37.14% | 11.3977 | 0.0276 | 31.219 | 59.1922
1994 | 0.2415 | 0.0276 | 2.4521 | 50.5247 | 14 | 40% | 6.4781 | 0.0276 | 31.0003 | 53.3362
1995 | 6.4781 | 0.0276 | 61.2394 | 113.075 | 15 | 42.86% | 5.0805 | 0.0276 | 30.103 | 52.7168
1996 | 50.0742 | 0.0276 | 71.2312 | 120.3664 | 16 | 45.71% | 3.7117 | 0.0276 | 27.6642 | 51.7677
1997 | 53.8236 | 18.6544 | 76.7881 | 101.6039 | 17 | 48.57% | 1.9133 | 0.0276 | 26.5253 | 51.09
1998 | 31.1607 | 0.5719 | 70.7936 | 105.898 | 18 | 51.43% | 1.6283 | 0.0276 | 25.4926 | 50.5247
1999 | 107.4973 | 55.2074 | 116.9837 | 125.5053 | 19 | 54.29% | 0.378 | 0.0276 | 24.3827 | 50.3885
2000 | 58.3405 | 0.0276 | 58.5691 | 59.7999 | 20 | 57.14% | 0.3517 | 0.0276 | 22.7138 | 46.7347
2001 | 35.3968 | 0.0276 | 24.3827 | 28.5695 | 21 | 60% | 0.2634 | 0.0276 | 21.2356 | 46.0141
2002 | 23.9796 | 0.0276 | 31.3595 | 38.1427 | 22 | 62.86% | 0.2415 | 0.0276 | 14.9482 | 44.1016
2003 | 14.1929 | 0.0276 | 30.103 | 65.3935 | 23 | 65.71% | 0.2415 | 0.0276 | 12.927 | 38.1427
2004 | 33.1516 | 6.1128 | 54.1886 | 66.155 | 24 | 68.57% | 0.2415 | 0.0276 | 10.2635 | 33.516
2005 | 16.6831 | 0.0276 | 21.2356 | 64.0426 | 25 | 71.43% | 0.2415 | 0.0276 | 4.1214 | 28.6098
2006 | 12.5812 | 0.0276 | 25.4926 | 61.8638 | 26 | 74.29% | 0.2415 | 0.0276 | 3.3236 | 28.5695
2007 | 13.84 | 0.0276 | 35.3158 | 53.3362 | 27 | 77.14% | 0.2415 | 0.0276 | 2.8123 | 21.7799
2008 | 11.3977 | 0.0276 | 22.7138 | 44.1016 | 28 | 80% | 0.2415 | 0.0276 | 2.4521 | 20.0928
2009 | 1.9133 | 0.0276 | 10.2635 | 28.6098 | 29 | 82.86% | 0.2415 | 0.0276 | 1.875 | 16.0088
2010 | 5.0805 | 0.0276 | 31.219 | 50.3885 | 30 | 85.71% | 0.2415 | 0.0276 | 1.6416 | 16.0004
2011 | 3.7117 | 0.0276 | 26.5253 | 51.09 | 31 | 88.57% | 0.2415 | 0.0276 | 1.6256 | 12.6429
2012 | 1.6283 | 0.0276 | 4.1214 | 16.0088 | 32 | 91.43% | 0.2415 | 0.0276 | 1.0164 | 11.3886
2013 | 0.2415 | 0.0276 | 1.6256 | 6.2056 | 33 | 94.29% | 0.2415 | 0.0276 | 0.7082 | 6.8072
2014 | 0.2415 | 0.0276 | 1.0164 | 6.8072 | 34 | 97.14% | 0.2415 | 0.0276 | 0.7082 | 6.2056
2015 | 0.2415 | 0.0276 | 1.875 | 11.3886 | 35 | 100% | 0.2415 | 0.0276 | 0.7082 | 5.7728
LTA (Average) | 13.8659 | 2.3258 | 28.5812 | 51.0595 |  |  | 13.8659 | 2.3258 | 28.5812 | 51.0595
Median | 1.6283 | 0.0276 | 25.4926 | 50.5247 |  |  | 1.6283 | 0.0276 | 25.4926 | 50.5247

## Table 3.4-5
Table 3.4-5: Summary - DCF Cap Option Impacts - 420 & 450 & 490 GW.h/yr. Loads with Minto Mine and Victoria Gold Mine
|  | 420 GW.h/year load (13.9 GW.h/yr LTA thermal) |  | 450 GW.h/yr load (28.6 GW.h/yr LTA thermal) |  | 490 GW.h/yr load (50.9 GW.h/yr LTA thermal)
|  | "+/-" DCF Cap ($million) |  | "+/-" DCF Cap ($million) |  | "+/-" DCF Cap ($million)
|  | 8 | 16 | 8 | 16 | 8 | 16 | 22
|  | Table 3.4-6A | Table 3.4-6B | Table 3.4-7A | Table 3.4-7B | Table 3.4-8A | Table 3.4-8B | Table 3.4-8C
DCF at 90% LNG and 10% Diesel
Number of water years (out of 35) with
| No rate rider impact | 16 | 21 | 20 | 26 | 20 | 26 | 28
| Rider rebates | 12 | 8 | 8 | 4 | 7 | 3 | 2
| Max rebate | 8 | 6 | 1 | 1 | 1 | 1 | 1
| Rider charges | 7 | 6 | 7 | 5 | 8 | 6 | 5
Rider Impact ($M/yr)
| Max Rebate | -2.1573 | -2.1573 | -5.0581 | -4.1374 | -7.1709 | -6.0831 | -1.0501
| Peak Charge | 13.6251 | 4.6675 | 13.9981 | 8.2402 | 11.7881 | 11.7881 | 5.2693
| Average charge year | 4.1757 | 2.205 | 4.8178 | 3.5449 | 4.7292 | 3.639 | 1.9668
| Net impact after 35 yrs | 5.8997 | -2.1003 | 8 | 5.0581 | 8 | 14.6992 | 8.6992
DCF at 100% Diesel
Number of water years (out of 35) with
| No rate rider impact | 11 | 17 | 17 | 22 | 17 | 21 | 24
| Rider rebates | 15 | 11 | 10 | 7 | 9 | 6 | 4
| Max rebate | 9 | 8 | 1 | 1 | 1 | 1 | 1
| Rider charges | 9 | 7 | 8 | 6 | 9 | 8 | 7
Rider Impact ($M/yr)
| Max Rebate | -3.5877 | -3.5877 | -7.3398 | -7.094 | -11.9253 | -11.9253 | -10.1162
| Peak Charge | 24.656 | 17.267 | 23.279 | 23.279 | 19.6038 | 19.6038 | 19.6038
| Average charge year | 6.5798 | 6.174 | 8.3365 | 8.4487 | 8.1696 | 7.1908 | 6.5038
| Net impact after 35 yrs | 8 | 7.1155 | 8 | 16 | 8 | 16 | 22

## Table 3.4-6A -420 GWh $8 M
Table 3.4-6A: +/- $8 Million DCF Cap with 420 GW.h Load
Impact of DCF at Cap - 2018 Example - Load at 420 GWH
| Cap assumed at |  | 8 | million
LTA |  |  | 13.8659 | GW.h
LNG cost |  |  | 0.14668 | $/kWh |  |  |  | Blend cost | 0.15835 | 90% | LNG (balance diesel)
Diesel cost |  |  | 0.26333 | $/kWh
|  |  | DCF at 100% Diesel | [5 empty] | DCF at 90% LNG, 10% Diesel
|  |  | DCF start in 1981 -No Cap ($ Million) |  |  | DCF - With Cap ($ million) |  |  | DCF start in 1981 -No Cap ($ Million) |  |  | DCF - With Cap ($ million)
Water Year |  | Thermal GW.h | Annual | Total |  | Charge or (Rebate) | Total |  | Annual | Total |  | Charge or (Rebate) | Total
1981 |  | 0.2415 | 3.5877 | 3.5877 |  |  | 3.5877 |  | 2.1573 | 2.1573 |  |  | 2.1573
1982 |  | 0.2415 | 3.5877 | 7.1754 |  |  | 7.1754 |  | 2.1573 | 4.3147 |  |  | 4.3147
1983 |  | 0.2415 | 3.5877 | 10.7631 |  | -2.7631 | 8 |  | 2.1573 | 6.472 |  |  | 6.472
1984 |  | 0.378 | 3.5518 | 14.3149 |  | -3.5518 | 8 |  | 2.1357 | 8.6078 |  | -0.60779 | 8
1985 |  | 0.2634 | 3.5819 | 17.8968 |  | -3.5819 | 8 |  | 2.1539 | 10.7617 |  | -2.1539 | 8
1986 |  | 0.3517 | 3.5587 | 21.4555 |  | -3.5587 | 8 |  | 2.1399 | 12.9016 |  | -2.1399 | 8
1987 |  | 0.2415 | 3.5877 | 25.0432 |  | -3.5877 | 8 |  | 2.1573 | 15.0589 |  | -2.1573 | 8
1988 |  | 0.2415 | 3.5877 | 28.6309 |  | -3.5877 | 8 |  | 2.1573 | 17.2163 |  | -2.1573 | 8
1989 |  | 0.2415 | 3.5877 | 32.2186 |  | -3.5877 | 8 |  | 2.1573 | 19.3736 |  | -2.1573 | 8
1990 |  | 0.2415 | 3.5877 | 35.8063 |  | -3.5877 | 8 |  | 2.1573 | 21.531 |  | -2.1573 | 8
1991 |  | 0.2415 | 3.5877 | 39.394 |  | -3.5877 | 8 |  | 2.1573 | 23.6883 |  | -2.1573 | 8
1992 |  | 0.2415 | 3.5877 | 42.9817 |  | -3.5877 | 8 |  | 2.1573 | 25.8457 |  | -2.1573 | 8
1993 |  | 0.2415 | 3.5877 | 46.5694 |  | -3.5877 | 8 |  | 2.1573 | 28.003 |  | -2.1573 | 8
1994 |  | 0.2415 | 3.5877 | 50.1571 |  | -3.5877 | 8 |  | 2.1573 | 30.1604 |  | -2.1573 | 8
1995 |  | 6.4781 | 1.9454 | 52.1025 |  | -1.9454 | 8 |  | 1.1698 | 31.3302 |  | -1.1698 | 8
1996 |  | 50.0742 | -9.5347 | 42.5678 |  |  | -1.5347 |  | -5.7334 | 25.5968 |  |  | 2.2666
1997 |  | 53.8236 | -10.5221 | 32.0457 |  | 4.0568 | -8 |  | -6.3271 | 19.2697 |  |  | -4.0605
1998 |  | 31.1607 | -4.5542 | 27.4915 |  | 4.5542 | -8 |  | -2.7386 | 16.5311 |  |  | -6.7991
1999 |  | 107.4973 | -24.656 | 2.8355 |  | 24.656 | -8 |  | -14.8261 | 1.705 |  | 13.6251 | -8
2000 |  | 58.3405 | -11.7115 | -8.876 |  | 11.7115 | -8 |  | -7.0423 | -5.3373 |  | 7.0423 | -8
2001 |  | 35.3968 | -5.6698 | -14.5457 |  | 5.6698 | -8 |  | -3.4093 | -8.7466 |  | 3.4093 | -8
2002 |  | 23.9796 | -2.6633 | -17.209 |  | 2.6633 | -8 |  | -1.6015 | -10.3481 |  | 1.6015 | -8
2003 |  | 14.1929 | -0.08612 | -17.2951 |  | 0.08612 | -8 |  | -0.051786 | -10.3999 |  | 0.051786 | -8
2004 |  | 33.1516 | -5.0785 | -22.3736 |  | 5.0785 | -8 |  | -3.0538 | -13.4536 |  | 3.0538 | -8
2005 |  | 16.6831 | -0.74186 | -23.1155 |  | 0.74186 | -8 |  | -0.4461 | -13.8997 |  | 0.4461 | -8
2006 |  | 12.5812 | 0.33829 | -22.7772 |  |  | -7.6617 |  | 0.20342 | -13.6963 |  |  | -7.7966
2007 |  | 13.84 | 0.0068209 | -22.7704 |  |  | -7.6549 |  | 0.0041016 | -13.6922 |  |  | -7.7925
2008 |  | 11.3977 | 0.64993 | -22.1204 |  |  | -7.005 |  | 0.39082 | -13.3014 |  |  | -7.4017
2009 |  | 1.9133 | 3.1475 | -18.973 |  |  | -3.8575 |  | 1.8926 | -11.4088 |  |  | -5.509
2010 |  | 5.0805 | 2.3134 | -16.6595 |  |  | -1.544 |  | 1.3911 | -10.0177 |  |  | -4.1179
2011 |  | 3.7117 | 2.6739 | -13.9856 |  |  | 1.1299 |  | 1.6079 | -8.4098 |  |  | -2.5101
2012 |  | 1.6283 | 3.2225 | -10.7631 |  |  | 4.3524 |  | 1.9377 | -6.472 |  |  | -0.5723
2013 |  | 0.2415 | 3.5877 | -7.1754 |  |  | 7.9401 |  | 2.1573 | -4.3147 |  |  | 1.585
2014 |  | 0.2415 | 3.5877 | -3.5877 |  | -3.5278 | 8 |  | 2.1573 | -2.1573 |  |  | 3.7424
2015 |  | 0.2415 | 3.5877 | 2.3981e-14 |  | -3.5877 | 8 |  | 2.1573 | 4.4409e-15 |  |  | 5.8997
Average |  | 13.8659
[5 empty] | Net | 8 |  |  |  |  | Net | 5.8997
Number of water years
| No rate rider impact |  |  |  |  | 11 | [5 empty] | 16
| Rider rebates |  |  |  |  | 15 | [5 empty] | 12
| Max rebate |  |  |  |  | 9 | [5 empty] | 8
| Rider charges |  |  |  |  | 9 | [5 empty] | 7
Rider Impact ($M)
| Max Rebate |  |  |  |  | -3.5877 | [5 empty] | -2.1573
| Peak Charge |  |  |  |  | 24.656 | [5 empty] | 13.6251
| Average charge year |  |  |  |  | 6.5798 | [5 empty] | 4.1757
| Net impact 35 yrs |  |  |  |  | 8 | [5 empty] | 5.8997
Total charges | [5 empty] | 59.218 | [5 empty] | 29.2299

## Table 3.4-6B-420 GWh- $16 M
Table 3.4-6B: +/- $16 Million DCF Cap with 420 GW.h Load
Impact of DCF at Cap - 2018 Example - Load at 420 GWH
| Cap assumed at |  | 16 | million
LTA |  |  | 13.8659 | GW.h
LNG cost |  |  | 0.14668 | $/kWh |  |  |  | Blend cost | 0.15835 | 90% | LNG (balance diesel)
Diesel cost |  |  | 0.26333 | $/kWh
|  |  | DCF at 100% Diesel | [5 empty] | DCF at 90% LNG, 10% Diesel
|  |  | DCF start in 1981 -No Cap ($ Million) |  |  | DCF - With Cap ($ million) |  |  | DCF start in 1981 -No Cap ($ Million) |  |  | DCF - With Cap ($ million)
Water Year |  | Thermal GW.h | Annual | Total |  | Charge or (Rebate) | Total |  | Annual | Total |  | Charge or (Rebate) | Total
1981 |  | 0.2415 | 3.5877 | 3.5877 |  |  | 3.5877 |  | 2.1573 | 2.1573 |  |  | 2.1573
1982 |  | 0.2415 | 3.5877 | 7.1754 |  |  | 7.1754 |  | 2.1573 | 4.3147 |  |  | 4.3147
1983 |  | 0.2415 | 3.5877 | 10.7631 |  |  | 10.7631 |  | 2.1573 | 6.472 |  |  | 6.472
1984 |  | 0.378 | 3.5518 | 14.3149 |  |  | 14.3149 |  | 2.1357 | 8.6078 |  |  | 8.6078
1985 |  | 0.2634 | 3.5819 | 17.8968 |  | -1.8968 | 16 |  | 2.1539 | 10.7617 |  |  | 10.7617
1986 |  | 0.3517 | 3.5587 | 21.4555 |  | -3.5587 | 16 |  | 2.1399 | 12.9016 |  |  | 12.9016
1987 |  | 0.2415 | 3.5877 | 25.0432 |  | -3.5877 | 16 |  | 2.1573 | 15.0589 |  |  | 15.0589
1988 |  | 0.2415 | 3.5877 | 28.6309 |  | -3.5877 | 16 |  | 2.1573 | 17.2163 |  | -1.2163 | 16
1989 |  | 0.2415 | 3.5877 | 32.2186 |  | -3.5877 | 16 |  | 2.1573 | 19.3736 |  | -2.1573 | 16
1990 |  | 0.2415 | 3.5877 | 35.8063 |  | -3.5877 | 16 |  | 2.1573 | 21.531 |  | -2.1573 | 16
1991 |  | 0.2415 | 3.5877 | 39.394 |  | -3.5877 | 16 |  | 2.1573 | 23.6883 |  | -2.1573 | 16
1992 |  | 0.2415 | 3.5877 | 42.9817 |  | -3.5877 | 16 |  | 2.1573 | 25.8457 |  | -2.1573 | 16
1993 |  | 0.2415 | 3.5877 | 46.5694 |  | -3.5877 | 16 |  | 2.1573 | 28.003 |  | -2.1573 | 16
1994 |  | 0.2415 | 3.5877 | 50.1571 |  | -3.5877 | 16 |  | 2.1573 | 30.1604 |  | -2.1573 | 16
1995 |  | 6.4781 | 1.9454 | 52.1025 |  | -1.9454 | 16 |  | 1.1698 | 31.3302 |  | -1.1698 | 16
1996 |  | 50.0742 | -9.5347 | 42.5678 |  |  | 6.4653 |  | -5.7334 | 25.5968 |  |  | 10.2666
1997 |  | 53.8236 | -10.5221 | 32.0457 |  |  | -4.0568 |  | -6.3271 | 19.2697 |  |  | 3.9395
1998 |  | 31.1607 | -4.5542 | 27.4915 |  |  | -8.6111 |  | -2.7386 | 16.5311 |  |  | 1.2009
1999 |  | 107.4973 | -24.656 | 2.8355 |  | 17.267 | -16 |  | -14.8261 | 1.705 |  |  | -13.6251
2000 |  | 58.3405 | -11.7115 | -8.876 |  | 11.7115 | -16 |  | -7.0423 | -5.3373 |  | 4.6675 | -16
2001 |  | 35.3968 | -5.6698 | -14.5457 |  | 5.6698 | -16 |  | -3.4093 | -8.7466 |  | 3.4093 | -16
2002 |  | 23.9796 | -2.6633 | -17.209 |  | 2.6633 | -16 |  | -1.6015 | -10.3481 |  | 1.6015 | -16
2003 |  | 14.1929 | -0.08612 | -17.2951 |  | 0.08612 | -16 |  | -0.051786 | -10.3999 |  | 0.051786 | -16
2004 |  | 33.1516 | -5.0785 | -22.3736 |  | 5.0785 | -16 |  | -3.0538 | -13.4536 |  | 3.0538 | -16
2005 |  | 16.6831 | -0.74186 | -23.1155 |  | 0.74186 | -16 |  | -0.4461 | -13.8997 |  | 0.4461 | -16
2006 |  | 12.5812 | 0.33829 | -22.7772 |  |  | -15.6617 |  | 0.20342 | -13.6963 |  |  | -15.7966
2007 |  | 13.84 | 0.0068209 | -22.7704 |  |  | -15.6549 |  | 0.0041016 | -13.6922 |  |  | -15.7925
2008 |  | 11.3977 | 0.64993 | -22.1204 |  |  | -15.005 |  | 0.39082 | -13.3014 |  |  | -15.4017
2009 |  | 1.9133 | 3.1475 | -18.973 |  |  | -11.8575 |  | 1.8926 | -11.4088 |  |  | -13.509
2010 |  | 5.0805 | 2.3134 | -16.6595 |  |  | -9.544 |  | 1.3911 | -10.0177 |  |  | -12.1179
2011 |  | 3.7117 | 2.6739 | -13.9856 |  |  | -6.8701 |  | 1.6079 | -8.4098 |  |  | -10.5101
2012 |  | 1.6283 | 3.2225 | -10.7631 |  |  | -3.6476 |  | 1.9377 | -6.472 |  |  | -8.5723
2013 |  | 0.2415 | 3.5877 | -7.1754 |  |  | -0.059933 |  | 2.1573 | -4.3147 |  |  | -6.415
2014 |  | 0.2415 | 3.5877 | -3.5877 |  |  | 3.5278 |  | 2.1573 | -2.1573 |  |  | -4.2576
2015 |  | 0.2415 | 3.5877 | 2.3981e-14 |  |  | 7.1155 |  | 2.1573 | 4.4409e-15 |  |  | -2.1003
Average |  | 13.8659
[5 empty] | Net | 7.1155 |  |  |  |  | Net | -2.1003
Number of water years
| No rate rider impact |  |  |  |  | 17 | [5 empty] | 21
| Rider rebates |  |  |  |  | 11 | [5 empty] | 8
| Max rebate |  |  |  |  | 8 | [5 empty] | 6
| Rider charges |  |  |  |  | 7 | [5 empty] | 6
Rider Impact ($M)
| Max Rebate |  |  |  |  | -3.5877 | [5 empty] | -2.1573
| Peak Charge |  |  |  |  | 17.267 | [5 empty] | 4.6675
| Average charge year |  |  |  |  | 6.174 | [5 empty] | 2.205
| Net impact 35 yrs |  |  |  |  | 7.1155 | [5 empty] | -2.1003
Total charges | [5 empty] | 43.218 | [5 empty] | 13.2299

## Table 3.4-7A -450 GWh $8 M
Table 3.4-7A: +/- $8 Million DCF Cap with 450 GW.h Load
Impact of DCF at Cap - 2018 Example - Load at 450 GWH
| Cap assumed at |  | 8 | million
LTA |  |  | 28.5812 | GW.h
LNG cost |  |  | 0.14668 | $/kWh |  |  |  | Blend cost | 0.15835 | 90% | LNG (balance diesel)
Diesel cost |  |  | 0.26333 | $/kWh
|  |  | DCF at 100% Diesel | [5 empty] | DCF at 90% LNG, 10% Diesel
|  |  | DCF start in 1981 -No Cap ($ Million) |  |  | DCF - With Cap ($ million) |  |  | DCF start in 1981 -No Cap ($ Million) |  |  | DCF - With Cap ($ million)
Water Year |  | Thermal GW.h | Annual | Total |  | Charge or (Rebate) | Total |  | Annual | Total |  | Charge or (Rebate) | Total
1981 |  | 0.7082 | 7.3398 | 7.3398 |  |  | 7.3398 |  | 4.4135 | 4.4135 |  |  | 4.4135
1982 |  | 0.7082 | 7.3398 | 14.6796 |  | -6.6796 | 8 |  | 4.4135 | 8.8271 |  | -0.82709 | 8
1983 |  | 0.7082 | 7.3398 | 22.0194 |  | -7.3398 | 8 |  | 4.4135 | 13.2406 |  | -4.4135 | 8
1984 |  | 31.0003 | -0.63703 | 21.3823 |  |  | 7.363 |  | -0.38306 | 12.8576 |  |  | 7.6169
1985 |  | 43.9328 | -4.0425 | 17.3398 |  |  | 3.3204 |  | -2.4309 | 10.4267 |  |  | 5.1861
1986 |  | 48.0289 | -5.1212 | 12.2186 |  |  | -1.8007 |  | -3.0794 | 7.3473 |  |  | 2.1066
1987 |  | 27.6642 | 0.24146 | 12.4601 |  |  | -1.5593 |  | 0.1452 | 7.4925 |  |  | 2.2518
1988 |  | 32.4421 | -1.0167 | 11.4434 |  |  | -2.576 |  | -0.61136 | 6.8811 |  |  | 1.6405
1989 |  | 12.927 | 4.1222 | 15.5656 |  |  | 1.5462 |  | 2.4788 | 9.3599 |  |  | 4.1192
1990 |  | 14.9482 | 3.59 | 19.1555 |  |  | 5.1362 |  | 2.1587 | 11.5186 |  |  | 6.2779
1991 |  | 3.3236 | 6.6511 | 25.8066 |  | -3.7873 | 8 |  | 3.9994 | 15.518 |  | -2.2773 | 8
1992 |  | 1.6416 | 7.094 | 32.9006 |  | -7.094 | 8 |  | 4.2657 | 19.7837 |  | -4.2657 | 8
1993 |  | 2.8123 | 6.7857 | 39.6863 |  | -6.7857 | 8 |  | 4.0804 | 23.8641 |  | -4.0804 | 8
1994 |  | 2.4521 | 6.8806 | 46.5669 |  | -6.8806 | 8 |  | 4.1374 | 28.0015 |  | -4.1374 | 8
1995 |  | 61.2394 | -8.5999 | 37.967 |  |  | -0.5999 |  | -5.1713 | 22.8302 |  |  | 2.8287
1996 |  | 71.2312 | -11.231 | 26.7359 |  | 3.8309 | -8 |  | -6.7534 | 16.0768 |  |  | -3.9247
1997 |  | 76.7881 | -12.6943 | 14.0416 |  | 12.6943 | -8 |  | -7.6333 | 8.4435 |  | 3.558 | -8
1998 |  | 70.7936 | -11.1158 | 2.9258 |  | 11.1158 | -8 |  | -6.6841 | 1.7593 |  | 6.6841 | -8
1999 |  | 116.9837 | -23.279 | -20.3532 |  | 23.279 | -8 |  | -13.9981 | -12.2387 |  | 13.9981 | -8
2000 |  | 58.5691 | -7.8967 | -28.2499 |  | 7.8967 | -8 |  | -4.7484 | -16.9872 |  | 4.7484 | -8
2001 |  | 24.3827 | 1.1056 | -27.1443 |  | -1.1056 | -8 |  | 0.66481 | -16.3224 |  | -0.66481 | -8
2002 |  | 31.3595 | -0.73163 | -27.876 |  | 0.73163 | -8 |  | -0.43994 | -16.7623 |  | 0.43994 | -8
2003 |  | 30.103 | -0.40074 | -28.2767 |  | 0.40074 | -8 |  | -0.24097 | -17.0033 |  | 0.24097 | -8
2004 |  | 54.1886 | -6.7432 | -35.0199 |  | 6.7432 | -8 |  | -4.0548 | -21.0581 |  | 4.0548 | -8
2005 |  | 21.2356 | 1.9343 | -33.0856 |  |  | -6.0657 |  | 1.1631 | -19.895 |  |  | -6.8369
2006 |  | 25.4926 | 0.81332 | -32.2723 |  |  | -5.2524 |  | 0.48906 | -19.4059 |  |  | -6.3478
2007 |  | 35.3158 | -1.7734 | -34.0457 |  |  | -7.0258 |  | -1.0664 | -20.4723 |  |  | -7.4142
2008 |  | 22.7138 | 1.545 | -32.5007 |  |  | -5.4808 |  | 0.92906 | -19.5432 |  |  | -6.4851
2009 |  | 10.2635 | 4.8236 | -27.6771 |  |  | -0.65719 |  | 2.9005 | -16.6427 |  |  | -3.5846
2010 |  | 31.219 | -0.69461 | -28.3717 |  |  | -1.3518 |  | -0.41768 | -17.0604 |  |  | -4.0023
2011 |  | 26.5253 | 0.54136 | -27.8304 |  |  | -0.81045 |  | 0.32553 | -16.7349 |  |  | -3.6768
2012 |  | 4.1214 | 6.441 | -21.3894 |  |  | 5.6305 |  | 3.8731 | -12.8618 |  |  | 0.19629
2013 |  | 1.6256 | 7.0982 | -14.2912 |  | -4.7288 | 8 |  | 4.2683 | -8.5935 |  |  | 4.4646
2014 |  | 1.0164 | 7.2586 | -7.0325 |  | -7.2586 | 8 |  | 4.3647 | -4.2288 |  |  | 8.8293
2015 |  | 1.875 | 7.0325 | -3.908e-14 |  | -7.0325 | 8 |  | 4.2288 | -2.1316e-14 |  | -5.0581 | 8
Average |  | 28.5812
[5 empty] | Net | 8 |  |  |  |  | Net | 8
Number of water years
| No rate rider impact |  |  |  |  | 17 | [5 empty] | 20
| Rider rebates |  |  |  |  | 10 | [5 empty] | 8
| Max rebate |  |  |  |  | 1 | [5 empty] | 1
| Rider charges |  |  |  |  | 8 | [5 empty] | 7
Rider Impact ($M)
| Max Rebate |  |  |  |  | -7.3398 | [5 empty] | -5.0581
| Peak Charge |  |  |  |  | 23.279 | [5 empty] | 13.9981
| Average charge year |  |  |  |  | 8.3365 | [5 empty] | 4.8178
| Net impact 35 yrs |  |  |  |  | 8 | [5 empty] | 8
Total charges | [5 empty] | 66.6924 | [5 empty] | 33.7244

## Table 3.4-7B -450 GWh $16 M
Table 3.4-7B: +/- $16 Million DCF Cap with 450 GW.h Load
Impact of DCF at Cap - 2018 Example - Load at 450 GWH
| Cap assumed at |  | 16 | million
LTA |  |  | 28.5812 | GW.h
LNG cost |  |  | 0.14668 | $/kWh |  |  |  | Blend cost | 0.15835 | 90% | LNG (balance diesel)
Diesel cost |  |  | 0.26333 | $/kWh
|  |  | DCF at 100% Diesel | [5 empty] | DCF at 90% LNG, 10% Diesel
|  |  | DCF start in 1981 -No Cap ($ Million) |  |  | DCF - With Cap ($ million) |  |  | DCF start in 1981 -No Cap ($ Million) |  |  | DCF - With Cap ($ million)
Water Year |  | Thermal GW.h | Annual | Total |  | Charge or (Rebate) | Total |  | Annual | Total |  | Charge or (Rebate) | Total
1981 |  | 0.7082 | 7.3398 | 7.3398 |  |  | 7.3398 |  | 4.4135 | 4.4135 |  |  | 4.4135
1982 |  | 0.7082 | 7.3398 | 14.6796 |  |  | 14.6796 |  | 4.4135 | 8.8271 |  |  | 8.8271
1983 |  | 0.7082 | 7.3398 | 22.0194 |  | -6.0194 | 16 |  | 4.4135 | 13.2406 |  |  | 13.2406
1984 |  | 31.0003 | -0.63703 | 21.3823 |  |  | 15.363 |  | -0.38306 | 12.8576 |  |  | 12.8576
1985 |  | 43.9328 | -4.0425 | 17.3398 |  |  | 11.3204 |  | -2.4309 | 10.4267 |  |  | 10.4267
1986 |  | 48.0289 | -5.1212 | 12.2186 |  |  | 6.1993 |  | -3.0794 | 7.3473 |  |  | 7.3473
1987 |  | 27.6642 | 0.24146 | 12.4601 |  |  | 6.4407 |  | 0.1452 | 7.4925 |  |  | 7.4925
1988 |  | 32.4421 | -1.0167 | 11.4434 |  |  | 5.424 |  | -0.61136 | 6.8811 |  |  | 6.8811
1989 |  | 12.927 | 4.1222 | 15.5656 |  |  | 9.5462 |  | 2.4788 | 9.3599 |  |  | 9.3599
1990 |  | 14.9482 | 3.59 | 19.1555 |  |  | 13.1362 |  | 2.1587 | 11.5186 |  |  | 11.5186
1991 |  | 3.3236 | 6.6511 | 25.8066 |  | -3.7873 | 16 |  | 3.9994 | 15.518 |  |  | 15.518
1992 |  | 1.6416 | 7.094 | 32.9006 |  | -7.094 | 16 |  | 4.2657 | 19.7837 |  | -3.7837 | 16
1993 |  | 2.8123 | 6.7857 | 39.6863 |  | -6.7857 | 16 |  | 4.0804 | 23.8641 |  | -4.0804 | 16
1994 |  | 2.4521 | 6.8806 | 46.5669 |  | -6.8806 | 16 |  | 4.1374 | 28.0015 |  | -4.1374 | 16
1995 |  | 61.2394 | -8.5999 | 37.967 |  |  | 7.4001 |  | -5.1713 | 22.8302 |  |  | 10.8287
1996 |  | 71.2312 | -11.231 | 26.7359 |  |  | -3.8309 |  | -6.7534 | 16.0768 |  |  | 4.0753
1997 |  | 76.7881 | -12.6943 | 14.0416 |  |  | -16.5253 |  | -7.6333 | 8.4435 |  |  | -3.558
1998 |  | 70.7936 | -11.1158 | 2.9258 |  | 11.6411 | -16 |  | -6.6841 | 1.7593 |  |  | -10.2421
1999 |  | 116.9837 | -23.279 | -20.3532 |  | 23.279 | -16 |  | -13.9981 | -12.2387 |  | 8.2402 | -16
2000 |  | 58.5691 | -7.8967 | -28.2499 |  | 7.8967 | -16 |  | -4.7484 | -16.9872 |  | 4.7484 | -16
2001 |  | 24.3827 | 1.1056 | -27.1443 |  | -1.1056 | -16 |  | 0.66481 | -16.3224 |  | -0.66481 | -16
2002 |  | 31.3595 | -0.73163 | -27.876 |  | 0.73163 | -16 |  | -0.43994 | -16.7623 |  | 0.43994 | -16
2003 |  | 30.103 | -0.40074 | -28.2767 |  | 0.40074 | -16 |  | -0.24097 | -17.0033 |  | 0.24097 | -16
2004 |  | 54.1886 | -6.7432 | -35.0199 |  | 6.7432 | -16 |  | -4.0548 | -21.0581 |  | 4.0548 | -16
2005 |  | 21.2356 | 1.9343 | -33.0856 |  |  | -14.0657 |  | 1.1631 | -19.895 |  |  | -14.8369
2006 |  | 25.4926 | 0.81332 | -32.2723 |  |  | -13.2524 |  | 0.48906 | -19.4059 |  |  | -14.3478
2007 |  | 35.3158 | -1.7734 | -34.0457 |  |  | -15.0258 |  | -1.0664 | -20.4723 |  |  | -15.4142
2008 |  | 22.7138 | 1.545 | -32.5007 |  |  | -13.4808 |  | 0.92906 | -19.5432 |  |  | -14.4851
2009 |  | 10.2635 | 4.8236 | -27.6771 |  |  | -8.6572 |  | 2.9005 | -16.6427 |  |  | -11.5846
2010 |  | 31.219 | -0.69461 | -28.3717 |  |  | -9.3518 |  | -0.41768 | -17.0604 |  |  | -12.0023
2011 |  | 26.5253 | 0.54136 | -27.8304 |  |  | -8.8104 |  | 0.32553 | -16.7349 |  |  | -11.6768
2012 |  | 4.1214 | 6.441 | -21.3894 |  |  | -2.3695 |  | 3.8731 | -12.8618 |  |  | -7.8037
2013 |  | 1.6256 | 7.0982 | -14.2912 |  |  | 4.7288 |  | 4.2683 | -8.5935 |  |  | -3.5354
2014 |  | 1.0164 | 7.2586 | -7.0325 |  |  | 11.9874 |  | 4.3647 | -4.2288 |  |  | 0.82932
2015 |  | 1.875 | 7.0325 | -3.908e-14 |  | -3.0199 | 16 |  | 4.2288 | -2.1316e-14 |  |  | 5.0581
Average |  | 28.5812
[5 empty] | Net | 16 |  |  |  |  | Net | 5.0581
Number of water years
| No rate rider impact |  |  |  |  | 22 | [5 empty] | 26
| Rider rebates |  |  |  |  | 7 | [5 empty] | 4
| Max rebate |  |  |  |  | 1 | [5 empty] | 1
| Rider charges |  |  |  |  | 6 | [5 empty] | 5
Rider Impact ($M)
| Max Rebate |  |  |  |  | -7.094 | [5 empty] | -4.1374
| Peak Charge |  |  |  |  | 23.279 | [5 empty] | 8.2402
| Average charge year |  |  |  |  | 8.4487 | [5 empty] | 3.5449
| Net impact 35 yrs |  |  |  |  | 16 | [5 empty] | 5.0581
Total charges | [5 empty] | 50.6924 | [5 empty] | 17.7244

## Table 3.4-8A -490 GWh $8 M
Table 3.4-8A: +/- $8 Million DCF Cap with 490 GW.h Load
Impact of DCF at Cap - 2018 Example - Load at 490 GWH
| Cap assumed at |  | 8 | million
LTA |  |  | 51.0595 | GW.h
LNG cost |  |  | 0.14668 | $/kWh |  |  |  | Blend cost | 0.15835 | 90% | LNG (balance diesel)
Diesel cost |  |  | 0.26333 | $/kWh
|  |  | DCF at 100% Diesel | [5 empty] | DCF at 90% LNG, 10% Diesel
|  |  | DCF start in 1981 -No Cap ($ Million) |  |  | DCF - With Cap ($ million) |  |  | DCF start in 1981 -No Cap ($ Million) |  |  | DCF - With Cap ($ million)
Water Year |  | Thermal GW.h | Annual | Total |  | Charge or (Rebate) | Total |  | Annual | Total |  | Charge or (Rebate) | Total
1981 |  | 20.0928 | 8.1545 | 8.1545 |  | -0.15446 | 8 |  | 4.9034 | 4.9034 |  |  | 4.9034
1982 |  | 51.7677 | -0.1865 | 7.968 |  |  | 7.8135 |  | -0.11215 | 4.7913 |  |  | 4.7913
1983 |  | 52.7168 | -0.43642 | 7.5315 |  |  | 7.3771 |  | -0.26243 | 4.5288 |  |  | 4.5288
1984 |  | 85.4952 | -9.068 | -1.5364 |  |  | -1.6909 |  | -5.4527 | -0.92388 |  |  | -0.92388
1985 |  | 66.4788 | -4.0604 | -5.5968 |  |  | -5.7513 |  | -2.4416 | -3.3655 |  |  | -3.3655
1986 |  | 59.1922 | -2.1416 | -7.7384 |  |  | -7.8929 |  | -1.2878 | -4.6532 |  |  | -4.6532
1987 |  | 46.0141 | 1.3286 | -6.4098 |  |  | -6.5643 |  | 0.7989 | -3.8543 |  |  | -3.8543
1988 |  | 46.7347 | 1.1388 | -5.271 |  |  | -5.4254 |  | 0.6848 | -3.1695 |  |  | -3.1695
1989 |  | 21.7799 | 7.7102 | 2.4392 |  |  | 2.2847 |  | 4.6363 | 1.4667 |  |  | 1.4667
1990 |  | 33.516 | 4.6197 | 7.0589 |  |  | 6.9045 |  | 2.7779 | 4.2446 |  |  | 4.2446
1991 |  | 16.0004 | 9.2321 | 16.291 |  | -8.1366 | 8 |  | 5.5514 | 9.7961 |  | -1.7961 | 8
1992 |  | 5.7728 | 11.9253 | 28.2163 |  | -11.9253 | 8 |  | 7.1709 | 16.967 |  | -7.1709 | 8
1993 |  | 12.6429 | 10.1162 | 38.3326 |  | -10.1162 | 8 |  | 6.0831 | 23.0501 |  | -6.0831 | 8
1994 |  | 50.5247 | 0.14082 | 38.4734 |  | -0.14082 | 8 |  | 0.084675 | 23.1347 |  | -0.084675 | 8
1995 |  | 113.075 | -16.3306 | 22.1428 |  | 0.33056 | -8 |  | -9.8199 | 13.3149 |  |  | -1.8199
1996 |  | 120.3664 | -18.2506 | 3.8922 |  | 18.2506 | -8 |  | -10.9744 | 2.3405 |  | 4.7943 | -8
1997 |  | 101.6039 | -13.3099 | -9.4177 |  | 13.3099 | -8 |  | -8.0035 | -5.663 |  | 8.0035 | -8
1998 |  | 105.898 | -14.4406 | -23.8583 |  | 14.4406 | -8 |  | -8.6834 | -14.3464 |  | 8.6834 | -8
1999 |  | 125.5053 | -19.6038 | -43.4621 |  | 19.6038 | -8 |  | -11.7881 | -26.1345 |  | 11.7881 | -8
2000 |  | 59.7999 | -2.3016 | -45.7637 |  | 2.3016 | -8 |  | -1.384 | -27.5185 |  | 1.384 | -8
2001 |  | 28.5695 | 5.9223 | -39.8414 |  |  | -2.0777 |  | 3.5612 | -23.9574 |  |  | -4.4388
2002 |  | 38.1427 | 3.4014 | -36.4401 |  |  | 1.3237 |  | 2.0453 | -21.9121 |  |  | -2.3935
2003 |  | 65.3935 | -3.7746 | -40.2147 |  |  | -2.4509 |  | -2.2697 | -24.1818 |  |  | -4.6632
2004 |  | 66.155 | -3.9751 | -44.1898 |  |  | -6.426 |  | -2.3903 | -26.5721 |  |  | -7.0536
2005 |  | 64.0426 | -3.4188 | -47.6086 |  | 1.8449 | -8 |  | -2.0558 | -28.6279 |  | 1.1094 | -8
2006 |  | 61.8638 | -2.8451 | -50.4537 |  | 2.8451 | -8 |  | -1.7108 | -30.3387 |  | 1.7108 | -8
2007 |  | 53.3362 | -0.59953 | -51.0533 |  | 0.59953 | -8 |  | -0.36051 | -30.6992 |  | 0.36051 | -8
2008 |  | 44.1016 | 1.8322 | -49.221 |  |  | -6.1678 |  | 1.1017 | -29.5975 |  |  | -6.8983
2009 |  | 28.6098 | 5.9117 | -43.3094 |  |  | -0.25612 |  | 3.5548 | -26.0427 |  |  | -3.3435
2010 |  | 50.3885 | 0.17669 | -43.1327 |  |  | -0.079433 |  | 0.10625 | -25.9364 |  |  | -3.2372
2011 |  | 51.09 | -0.0080345 | -43.1407 |  |  | -0.087468 |  | -0.0048313 | -25.9413 |  |  | -3.2421
2012 |  | 16.0088 | 9.2299 | -33.9108 |  | -1.1424 | 8 |  | 5.5501 | -20.3912 |  |  | 2.308
2013 |  | 6.2056 | 11.8114 | -22.0995 |  | -11.8114 | 8 |  | 7.1024 | -13.2888 |  | -1.4104 | 8
2014 |  | 6.8072 | 11.6529 | -10.4465 |  | -11.6529 | 8 |  | 7.0071 | -6.2817 |  | -7.0071 | 8
2015 |  | 11.3886 | 10.4465 | 0 |  | -10.4465 | 8 |  | 6.2817 | -7.1054e-15 |  | -6.2817 | 8
Average |  | 51.0595
[5 empty] | Net | 8 |  |  |  |  | Net | 8
Number of water years
| No rate rider impact |  |  |  |  | 17 | [5 empty] | 20
| Rider rebates |  |  |  |  | 9 | [5 empty] | 7
| Max rebate |  |  |  |  | 1 | [5 empty] | 1
| Rider charges |  |  |  |  | 9 | [5 empty] | 8
Rider Impact ($M)
| Max Rebate |  |  |  |  | -11.9253 | [5 empty] | -7.1709
| Peak Charge |  |  |  |  | 19.6038 | [5 empty] | 11.7881
| Average charge year |  |  |  |  | 8.1696 | [5 empty] | 4.7292
| Net impact 35 yrs |  |  |  |  | 8 | [5 empty] | 8
Total charges | [5 empty] | 73.5266 | [5 empty] | 37.834

## Table 3.4-8B -490 GWh $16 M
Table 3.4-8B: +/- $16 Million DCF Cap with 490 GW.h Load
Impact of DCF at Cap - 2018 Example - Load at 490 GWH
| Cap assumed at |  | 16 | million
LTA |  |  | 51.0595 | GW.h
LNG cost |  |  | 0.14668 | $/kWh |  |  |  | Blend cost | 0.15835 | 90% | LNG (balance diesel)
Diesel cost |  |  | 0.26333 | $/kWh
|  |  | DCF at 100% Diesel | [5 empty] | DCF at 90% LNG, 10% Diesel
|  |  | DCF start in 1981 -No Cap ($ Million) |  |  | DCF - With Cap ($ million) |  |  | DCF start in 1981 -No Cap ($ Million) |  |  | DCF - With Cap ($ million)
Water Year |  | Thermal GW.h | Annual | Total |  | Charge or (Rebate) | Total |  | Annual | Total |  | Charge or (Rebate) | Total
1981 |  | 20.0928 | 8.1545 | 8.1545 |  |  | 8.1545 |  | 4.9034 | 4.9034 |  |  | 4.9034
1982 |  | 51.7677 | -0.1865 | 7.968 |  |  | 7.968 |  | -0.11215 | 4.7913 |  |  | 4.7913
1983 |  | 52.7168 | -0.43642 | 7.5315 |  |  | 7.5315 |  | -0.26243 | 4.5288 |  |  | 4.5288
1984 |  | 85.4952 | -9.068 | -1.5364 |  |  | -1.5364 |  | -5.4527 | -0.92388 |  |  | -0.92388
1985 |  | 66.4788 | -4.0604 | -5.5968 |  |  | -5.5968 |  | -2.4416 | -3.3655 |  |  | -3.3655
1986 |  | 59.1922 | -2.1416 | -7.7384 |  |  | -7.7384 |  | -1.2878 | -4.6532 |  |  | -4.6532
1987 |  | 46.0141 | 1.3286 | -6.4098 |  |  | -6.4098 |  | 0.7989 | -3.8543 |  |  | -3.8543
1988 |  | 46.7347 | 1.1388 | -5.271 |  |  | -5.271 |  | 0.6848 | -3.1695 |  |  | -3.1695
1989 |  | 21.7799 | 7.7102 | 2.4392 |  |  | 2.4392 |  | 4.6363 | 1.4667 |  |  | 1.4667
1990 |  | 33.516 | 4.6197 | 7.0589 |  |  | 7.0589 |  | 2.7779 | 4.2446 |  |  | 4.2446
1991 |  | 16.0004 | 9.2321 | 16.291 |  | -0.29101 | 16 |  | 5.5514 | 9.7961 |  |  | 9.7961
1992 |  | 5.7728 | 11.9253 | 28.2163 |  | -11.9253 | 16 |  | 7.1709 | 16.967 |  | -0.96699 | 16
1993 |  | 12.6429 | 10.1162 | 38.3326 |  | -10.1162 | 16 |  | 6.0831 | 23.0501 |  | -6.0831 | 16
1994 |  | 50.5247 | 0.14082 | 38.4734 |  | -0.14082 | 16 |  | 0.084675 | 23.1347 |  | -0.084675 | 16
1995 |  | 113.075 | -16.3306 | 22.1428 |  |  | -0.33056 |  | -9.8199 | 13.3149 |  |  | 6.1801
1996 |  | 120.3664 | -18.2506 | 3.8922 |  | 2.5812 | -16 |  | -10.9744 | 2.3405 |  |  | -4.7943
1997 |  | 101.6039 | -13.3099 | -9.4177 |  | 13.3099 | -16 |  | -8.0035 | -5.663 |  |  | -12.7977
1998 |  | 105.898 | -14.4406 | -23.8583 |  | 14.4406 | -16 |  | -8.6834 | -14.3464 |  | 5.4811 | -16
1999 |  | 125.5053 | -19.6038 | -43.4621 |  | 19.6038 | -16 |  | -11.7881 | -26.1345 |  | 11.7881 | -16
2000 |  | 59.7999 | -2.3016 | -45.7637 |  | 2.3016 | -16 |  | -1.384 | -27.5185 |  | 1.384 | -16
2001 |  | 28.5695 | 5.9223 | -39.8414 |  |  | -10.0777 |  | 3.5612 | -23.9574 |  |  | -12.4388
2002 |  | 38.1427 | 3.4014 | -36.4401 |  |  | -6.6763 |  | 2.0453 | -21.9121 |  |  | -10.3935
2003 |  | 65.3935 | -3.7746 | -40.2147 |  |  | -10.4509 |  | -2.2697 | -24.1818 |  |  | -12.6632
2004 |  | 66.155 | -3.9751 | -44.1898 |  |  | -14.426 |  | -2.3903 | -26.5721 |  |  | -15.0536
2005 |  | 64.0426 | -3.4188 | -47.6086 |  | 1.8449 | -16 |  | -2.0558 | -28.6279 |  | 1.1094 | -16
2006 |  | 61.8638 | -2.8451 | -50.4537 |  | 2.8451 | -16 |  | -1.7108 | -30.3387 |  | 1.7108 | -16
2007 |  | 53.3362 | -0.59953 | -51.0533 |  | 0.59953 | -16 |  | -0.36051 | -30.6992 |  | 0.36051 | -16
2008 |  | 44.1016 | 1.8322 | -49.221 |  |  | -14.1678 |  | 1.1017 | -29.5975 |  |  | -14.8983
2009 |  | 28.6098 | 5.9117 | -43.3094 |  |  | -8.2561 |  | 3.5548 | -26.0427 |  |  | -11.3435
2010 |  | 50.3885 | 0.17669 | -43.1327 |  |  | -8.0794 |  | 0.10625 | -25.9364 |  |  | -11.2372
2011 |  | 51.09 | -0.0080345 | -43.1407 |  |  | -8.0875 |  | -0.0048313 | -25.9413 |  |  | -11.2421
2012 |  | 16.0088 | 9.2299 | -33.9108 |  |  | 1.1424 |  | 5.5501 | -20.3912 |  |  | -5.692
2013 |  | 6.2056 | 11.8114 | -22.0995 |  |  | 12.9538 |  | 7.1024 | -13.2888 |  |  | 1.4104
2014 |  | 6.8072 | 11.6529 | -10.4465 |  | -8.6067 | 16 |  | 7.0071 | -6.2817 |  |  | 8.4175
2015 |  | 11.3886 | 10.4465 | 0 |  | -10.4465 | 16 |  | 6.2817 | -7.1054e-15 |  |  | 14.6992
Average |  | 51.0595
[5 empty] | Net | 16 |  |  |  |  | Net | 14.6992
Number of water years
| No rate rider impact |  |  |  |  | 21 | [5 empty] | 26
| Rider rebates |  |  |  |  | 6 | [5 empty] | 3
| Max rebate |  |  |  |  | 1 | [5 empty] | 1
| Rider charges |  |  |  |  | 8 | [5 empty] | 6
Rider Impact ($M)
| Max Rebate |  |  |  |  | -11.9253 | [5 empty] | -6.0831
| Peak Charge |  |  |  |  | 19.6038 | [5 empty] | 11.7881
| Average charge year |  |  |  |  | 7.1908 | [5 empty] | 3.639
| Net impact 35 yrs |  |  |  |  | 16 | [5 empty] | 14.6992
Total charges | [5 empty] | 57.5266 | [5 empty] | 21.834

## Table 3.4-8C -490 GWh $22 M
Table 3.4-8C: +/- $22 Million DCF Cap with 490 GW.h Load
Impact of DCF at Cap - 2018 Example - Load at 490 GWH
| Cap assumed at |  | 22 | million
LTA |  |  | 51.0595 | GW.h
LNG cost |  |  | 0.14668 | $/kWh |  |  |  | Blend cost | 0.15835 | 90% | LNG (balance diesel)
Diesel cost |  |  | 0.26333 | $/kWh
|  |  | DCF at 100% Diesel | [5 empty] | DCF at 90% LNG, 10% Diesel
|  |  | DCF start in 1981 -No Cap ($ Million) |  |  | DCF - With Cap ($ million) |  |  | DCF start in 1981 -No Cap ($ Million) |  |  | DCF - With Cap ($ million)
Water Year |  | Thermal GW.h | Annual | Total |  | Charge or (Rebate) | Total |  | Annual | Total |  | Charge or (Rebate) | Total
1981 |  | 20.0928 | 8.1545 | 8.1545 |  |  | 8.1545 |  | 4.9034 | 4.9034 |  |  | 4.9034
1982 |  | 51.7677 | -0.1865 | 7.968 |  |  | 7.968 |  | -0.11215 | 4.7913 |  |  | 4.7913
1983 |  | 52.7168 | -0.43642 | 7.5315 |  |  | 7.5315 |  | -0.26243 | 4.5288 |  |  | 4.5288
1984 |  | 85.4952 | -9.068 | -1.5364 |  |  | -1.5364 |  | -5.4527 | -0.92388 |  |  | -0.92388
1985 |  | 66.4788 | -4.0604 | -5.5968 |  |  | -5.5968 |  | -2.4416 | -3.3655 |  |  | -3.3655
1986 |  | 59.1922 | -2.1416 | -7.7384 |  |  | -7.7384 |  | -1.2878 | -4.6532 |  |  | -4.6532
1987 |  | 46.0141 | 1.3286 | -6.4098 |  |  | -6.4098 |  | 0.7989 | -3.8543 |  |  | -3.8543
1988 |  | 46.7347 | 1.1388 | -5.271 |  |  | -5.271 |  | 0.6848 | -3.1695 |  |  | -3.1695
1989 |  | 21.7799 | 7.7102 | 2.4392 |  |  | 2.4392 |  | 4.6363 | 1.4667 |  |  | 1.4667
1990 |  | 33.516 | 4.6197 | 7.0589 |  |  | 7.0589 |  | 2.7779 | 4.2446 |  |  | 4.2446
1991 |  | 16.0004 | 9.2321 | 16.291 |  |  | 16.291 |  | 5.5514 | 9.7961 |  |  | 9.7961
1992 |  | 5.7728 | 11.9253 | 28.2163 |  | -6.2163 | 22 |  | 7.1709 | 16.967 |  |  | 16.967
1993 |  | 12.6429 | 10.1162 | 38.3326 |  | -10.1162 | 22 |  | 6.0831 | 23.0501 |  | -1.0501 | 22
1994 |  | 50.5247 | 0.14082 | 38.4734 |  | -0.14082 | 22 |  | 0.084675 | 23.1347 |  | -0.084675 | 22
1995 |  | 113.075 | -16.3306 | 22.1428 |  |  | 5.6694 |  | -9.8199 | 13.3149 |  |  | 12.1801
1996 |  | 120.3664 | -18.2506 | 3.8922 |  |  | -12.5812 |  | -10.9744 | 2.3405 |  |  | 1.2057
1997 |  | 101.6039 | -13.3099 | -9.4177 |  | 3.891 | -22 |  | -8.0035 | -5.663 |  |  | -6.7977
1998 |  | 105.898 | -14.4406 | -23.8583 |  | 14.4406 | -22 |  | -8.6834 | -14.3464 |  |  | -15.4811
1999 |  | 125.5053 | -19.6038 | -43.4621 |  | 19.6038 | -22 |  | -11.7881 | -26.1345 |  | 5.2693 | -22
2000 |  | 59.7999 | -2.3016 | -45.7637 |  | 2.3016 | -22 |  | -1.384 | -27.5185 |  | 1.384 | -22
2001 |  | 28.5695 | 5.9223 | -39.8414 |  |  | -16.0777 |  | 3.5612 | -23.9574 |  |  | -18.4388
2002 |  | 38.1427 | 3.4014 | -36.4401 |  |  | -12.6763 |  | 2.0453 | -21.9121 |  |  | -16.3935
2003 |  | 65.3935 | -3.7746 | -40.2147 |  |  | -16.4509 |  | -2.2697 | -24.1818 |  |  | -18.6632
2004 |  | 66.155 | -3.9751 | -44.1898 |  |  | -20.426 |  | -2.3903 | -26.5721 |  |  | -21.0536
2005 |  | 64.0426 | -3.4188 | -47.6086 |  | 1.8449 | -22 |  | -2.0558 | -28.6279 |  | 1.1094 | -22
2006 |  | 61.8638 | -2.8451 | -50.4537 |  | 2.8451 | -22 |  | -1.7108 | -30.3387 |  | 1.7108 | -22
2007 |  | 53.3362 | -0.59953 | -51.0533 |  | 0.59953 | -22 |  | -0.36051 | -30.6992 |  | 0.36051 | -22
2008 |  | 44.1016 | 1.8322 | -49.221 |  |  | -20.1678 |  | 1.1017 | -29.5975 |  |  | -20.8983
2009 |  | 28.6098 | 5.9117 | -43.3094 |  |  | -14.2561 |  | 3.5548 | -26.0427 |  |  | -17.3435
2010 |  | 50.3885 | 0.17669 | -43.1327 |  |  | -14.0794 |  | 0.10625 | -25.9364 |  |  | -17.2372
2011 |  | 51.09 | -0.0080345 | -43.1407 |  |  | -14.0875 |  | -0.0048313 | -25.9413 |  |  | -17.2421
2012 |  | 16.0088 | 9.2299 | -33.9108 |  |  | -4.8576 |  | 5.5501 | -20.3912 |  |  | -11.692
2013 |  | 6.2056 | 11.8114 | -22.0995 |  |  | 6.9538 |  | 7.1024 | -13.2888 |  |  | -4.5896
2014 |  | 6.8072 | 11.6529 | -10.4465 |  |  | 18.6067 |  | 7.0071 | -6.2817 |  |  | 2.4175
2015 |  | 11.3886 | 10.4465 | 0 |  | -7.0533 | 22 |  | 6.2817 | -7.1054e-15 |  |  | 8.6992
Average |  | 51.0595
[5 empty] | Net | 22 |  |  |  |  | Net | 8.6992
Number of water years
| No rate rider impact |  |  |  |  | 24 | [5 empty] | 28
| Rider rebates |  |  |  |  | 4 | [5 empty] | 2
| Max rebate |  |  |  |  | 1 | [5 empty] | 1
| Rider charges |  |  |  |  | 7 | [5 empty] | 5
Rider Impact ($M)
| Max Rebate |  |  |  |  | -10.1162 | [5 empty] | -1.0501
| Peak Charge |  |  |  |  | 19.6038 | [5 empty] | 5.2693
| Average charge year |  |  |  |  | 6.5038 | [5 empty] | 1.9668
| Net impact 35 yrs |  |  |  |  | 22 | [5 empty] | 8.6992
Total charges | [5 empty] | 45.5266 | [5 empty] | 9.834