## Sheet1
ATCO Electric Yukon (AEY)
2023 - 2024 General Rate Application (GRA)
Direction No. 16, Reference: Paragraph 278
Line No. |  | System Improvement Projects
1 |  |  | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | Annual Program
2 |  | System Performance - Preventative(1) | 2 | 2 | 3 | 2 | 4 | 5 | 7 | 2
3 |  | System Performance - Corrective(2) | 2 | 0 | 1 | 0 | 0 | 1 | 1 | 0
4 |  | Life Extension | 3 | 0 | 6 | 2 | 4 | 2 | 3 | 1
5 |  | System Replacement | 2 | 1 | 1 | 0 | 2 | 0 | 1 | 4
6 |  | Customer Driven and/or Assigned | 1 | 3 | 3 | 4 | 5 | 1 | 4 | 0
7
8 | 1. Preventative System Performance
9 |  | Preventative system performance projects are determined based on operational drivers and address potential
10 |  | system imbalance, voltage or capacity issues before degradation of system or outages occur.
11
12 |  | Project Name | I/S Year | Driver
13 |  | Annual Right of Way Widening | Annual | Feeder-specific stats are used for ROW selection
14 |  | General Clearance Upgrades/Fixes | Annual | Conductor clearance concerns, trespass issues
15 |  | AEY 102 Lambert Encroachment | 2022 | Clearance issue
16 |  | 3 Phase Hotsprings Rd | 2020 | System balance
17 |  | AEY Old Crow Volt Issues-Loop | 2019 | System voltage
18 |  | AEY 25kV A.Hwy Hamilton Tie | 2018 | System alternative feed
19 |  | Alaska Highway to Mcintyre Tie Stage 2 | 2019 | System alternative feed
20 |  | Teslin Substn Metering | 2018 | System power quality
21 |  | AEY SCADA Swtch at Pinerdg | 2022 | Operational capability
22 |  | Carcross Road Voltage Improvements | 2020 | System voltage
23 |  | Riverdale Load Sectionalizing | 2020 | Operational capability
24 |  | AEY Hamilton to Alaska Highway 25kV Tie | 2021 | System alternative feed
25 |  | AEY New Subst Mayo Rd | 2021 | Capacity
26 |  | AEY Voltage Issues Gold Road | 2022 | System voltage
27 |  | New Substation Mayo Road | 2023 | Capacity
28 |  | Reconductor Mayo Rd Mainline - Stage 3 | 2022 | Protection and capacity
29 |  | AEY Dogwood voltage improvement | 2023 | Voltage
30 |  | AEY DWCI - New 12.5kV substation | 2024 | Capacity
31 |  | AEY New Substation Whistle Bend - Leota | 2024 | Capacity
32 |  | AEY SCADA Pineridge Switch | 2023 | Operational capability
33 |  | AEY Voltage Improvement Destruction Bay | 2023 | Voltage
34 |  | AEY Hillcrest Voltage Improvement | 2023 | Voltage
35 |  | AEY Pelly Crossing Voltage Improvement | 2024 | Voltage
36 |  | Power System Assessment - YEC and AEY | 2024 | Capacity
37 |  | AEY 6L19 voltage improvement | 2024 | Voltage
38 |  | AEY Carcross PQ monitoring | 2024 | System power quality
39 |  | Old Crow voltage improvement - reconductor | 2024 | Voltage
40
41
42 | 2. Corrective System Performance
43 |  | Corrective system performance projects address system performance issues.
44
45 |  | Project Name | I/S Year | KPI |  |  | Post Improvement KPI
46 |  | AEY CCC Rd Rebuild | 2018 | Outage count S6709 (2015-2018): 8 |  |  | Outage Count S6709 (2019-2022): 0
47 |  | AEY Wtsn Lk Vertical Strcts | 2018 | SAIFI (Watson Lake - 2017 System Wide): 5.25 |  |  | SAIFI (Watson Lake - 2019 System Wide): 8.9
48 |  | AEY Cowley Rd Rebuild SKH | 2020 | Outage count S6711 (2015-2018): 5 |  |  | Outage Count S6711 (2019-2022): 0
49 |  | AEY Choutla Long Span Rebuild | 2023 | SAIFI (5L600, all outages, 2021): 0.19 |  |  | SAIFI (5L600, all outages, 2023 YTD): 0.00
50 |  | Watson Lake 5L621 Upgrade | 2024 | SAIFI (Watson Lake - 2017 System Wide): 5.25 |  |  | SAIFI (Watson Lake - 2019 System Wide): 8.9