## Table 1-1
Table 1-1: ERA Determination for 2012
2012
A | Wholesales Variance for AEY (MW.h)
| Actual wholesales | 310263.877 | A1
| GRA approved wholesales assuming Fish Lake LTA generaiton | 296000 | A2 [See note 1]
| Fish Lake generation adjustment (expected LTA less actual) | 992 | A3 [See note 2]
| Change in wholesales for ERA | 13271.877 | A4=A1-A2-A3
B | YEC Cost Impact per kW.h change in Wholesales
| Losses (%) | 8.8% | B1 [Table 2.2 GRA]
| Total YEC's actual generation net of secondary, LTA wind & FL (MWh) | 423309.5155 | B2 [See note 2]
| GRA approved load forecast, net of expected wind (MWh) | 405314.3802 | B3 [See note 1]
| YEC incremental generation relative to GRA approved (MW.h) | 17995.1353 | B4=B2-B3
| YEC's actual LTA Thermal Generation (MWh) | 15622.3771 | B5 [See note 2]
| GRA LTA Thermal Generation (MWh) | 7926 | B6 [See note 1]
| YEC Incremenal thermal generation relative to GRA approved (MWh) | 7696.3771 | B7=B5-B6
| Incremental thermal generation for incremenal total generation (%) | 42.77% | B8=B7/B4
| Thermal Generation cost per GRA ($/kW.h) | 0.2871 | B9 [See note 1]
| YEC thermal cost change ($/kWh wholesales) | 0.1336 | B10=B9*B8*(1+B1)
C | YEC Revenue Impact per kW.h change in Wholesales
| Rate Schedule 42 Energy Charge ($/kW.h wholesales) | 0.08298 | C1
| Average YEC rider applicable to AEY retails ($/kWh wholesales) | 0.0066334 | C2 [See note 3]
D | Net thermal cost impact on YEC ($000)
| Wholesale Change: Cost Impact (YEC thermal generation costs) | 1773.0691 | D1=A4*B10
| Wholesale Change: Revenue Impact (YEC revenues) | 1271.654 | D2=A4*(C1+C2)+A3*C1
| Cost change>revenue change ("Yes"=1, "No"=0) | 1 | D3=is D1>D2 (absolute)
| ERA Charge (rebate) to AEY [Net added cost (cost saving) for YEC] | 501.4151 | D4=D3*(D1-D2)
Notes: | 1. Compliance Filing re: Board Order 2013-01, as approved by Board Order 2013-03.
2. Table 1 to DCF Annual Filing for 2016 (which includes records for 2012 to 2016): copy provided in Appendix 3.5 to YEC 2017-2018 GRA.
3. YEC Rider J and R revenues from AEY retail customers, divided by wholesales net of Fish Lake adjustments, each number for last six months of 2012 (when Rider J applicable); applied to 71.8% of change in wholesales (portion in last six months of 2012).

## Table 1-2
Table 1-2: ERA Determinations for 2013 to 2016
|  | 2013 | 2014 | 2015 | 2016
A | Wholesales Variance for AEY (MW.h)
| Actual wholesales | 307927.05 | 295284.011 | 297960.674 | 301207.012 | A1
| GRA approved wholesales assuming Fish Lake LTA generaiton | 307147 | 307147 | 307147 | 307147 | A2 [See note 1]
| Fish Lake generation adjustment (expected LTA less actual) | 693.24 | -1517.065 | -449.674 | 697.023 | A3 [See note 2]
| Change in wholesales for ERA | 86.81 | -10345.924 | -8736.652 | -6637.011 | A4=A1-A2-A3
B | YEC Cost Impact per kW.h change in Wholesales
| Losses (%) | 9.045% | 7.502% | 9.965% | 8.341% | B1 [Table 2.2 GRA]
| Total YEC's actual generation net of secondary, LTA wind & FL (MWh) | 418242.1399 | 397776.6568 | 410527.3627 | 411841.245 | B2 [See note 2]
| GRA approved load forecast, net of expected wind (MWh) | 416147.9005 | 416147.9005 | 416147.9005 | 416147.9005 | B3 [See note 1]
| YEC incremental generation relative to GRA approved (MW.h) | 2094.2394 | -18371.2436 | -5620.5377 | -4306.6555 | B4=B2-B3
| YEC's actual LTA Thermal Generation (MWh) | 13291.3844 | 5288.5302 | 10010.9451 | 10536.498 | B5 [See note 2]
| GRA LTA Thermal Generation (MWh) | 11006 | 11006 | 11006 | 11006 | B6 [See note 1]
| YEC Incremenal thermal generation relative to GRA approved (MWh) | 2285.3844 | -5717.4698 | -995.0549 | -469.502 | B7=B5-B6
| Incremental thermal generation for incremenal total generation (%) | 109.1% | 31.12% | 17.7% | 10.9% | B8=B7/B4
| Thermal Generation cost per GRA ($/kW.h) | 0.2871 | 0.2871 | 0.2723 | 0.2046 | B9 [See note 1]
| YEC thermal cost change ($/kWh wholesales) | 0.34164 | 0.096054 | 0.053012 | 0.024166 | B10=B9*B8*(1+B1)
C | YEC Revenue Impact per kW.h change in Wholesales
| Rate Schedule 42 Energy Charge ($/kW.h wholesales) | 0.08298 | 0.08298 | 0.08298 | 0.08298 | C1
| Average YEC rider applicable to AEY retails ($/kWh wholesales) | 0.018971 | 0.02109 | 0.017648 | 0.017548 | C2 [See note 3]
D | Net thermal cost impact on YEC ($000)
| Wholesale Change: Cost Impact (YEC thermal generation costs) | 29.6579 | -993.7652 | -463.1448 | -160.3869 | D1=A4*B10
| Wholesale Change: Revenue Impact (YEC revenues) | 66.3754 | -1202.5843 | -916.4623 | -609.3693 | D2=A4*(C1+C2)+A3*C1
| Cost change>revenue change ("Yes"=1, "No"=0) | 0 | 0 | 0 | 0 | D3=is D1>D2 (absolute)
| ERA Charge (rebate) to AEY [Net added cost (cost saving) for YEC] | 0 | 0 | 0 | 0 | D4=D3*(D1-D2)
Notes: | 1. Compliance Filing re: Board Order 2013-01, as approved by Board Order 2013-03.
2. Table 1 to DCF Annual Filing for 2016 (which includes records for 2012 to 2016): copy provided in Appendix 3.5 to YEC 2017-2018 GRA.
3. YEC Rider J and R revenues from AEY retail customers divided by wholesales net of Fish Lake adjustments.

## Table 1-3
Table 1-3: Simplified ERA Examples for Three Cases
|  |  | Case 1 - Faro Mine |  | Case 2 - After Faro Closure |  | Case 3 - 2012 + Years
|  |  | Case 1A | Case 1B | Case 2A | Case 2B | Case 3A | Case 3B
|  | Wholesale change (MW.h) | 10000 | -10000 | 10000 | -10000 | 10000 | -10000
|  | Cost of Thermal ($/kW.h) | 0.2871 | 0.2871 | 0.2871 | 0.2871 | 0.2871 | 0.2871
|  | Incremental Thermal (%) | 100% | 100% | 0% | 0% | 25% | 25%
|  | Cost ($/kW.h generation) | 0.2871 | 0.2871 | 0 | 0 | 0.071775 | 0.071775
|  | System Losses (%) | 8.8% | 8.8% | 8.8% | 8.8% | 8.8% | 8.8%
|  | Cost ($/kW.h Wholesales) | 0.31236 | 0.31236 | 0 | 0 | 0.078091 | 0.078091
|  | YEC ERA Cost $000) | 3123.648 | -3123.648 | 0 | 0 | 780.912 | -780.912
|  | YEC ERA Revenue ($/kWh) | 0.08298 | 0.08298 | 0.08298 | 0.08298 | 0.08298 | 0.08298
|  | YEC ERA Revenue ($000) | 829.8 | -829.8 | 829.8 | -829.8 | 829.8 | -829.8
|  | YEC Net ERA ($/kW.h) | 0.22938 | 0.22938 | -0.08298 | -0.08298 | -0.0048888 | -0.0048888
|  | YEC Net ERA ($000) | 2293.848 | -2293.848 | -829.8 | 829.8 | -48.888 | 48.888
Test: cost >revenue change ("Yes"=1, "No"=0) |  |  | 1 | 1 | 0 | 0 | 0 | 0
|  | Corrected ERA ($000) | 2293.848 | -2293.848 | 0 | 0 | 0 | 0
Assumptions
|  |  | Cost of Thermal | 0.2871 | $/kW.h generation
|  |  | Losses | 8.8%
|  |  | RS 42 Energy Charge | 0.08298 | $/kW.h wholesales