## YUB-15 a)
Yukon Energy Corporation
2017 – 2018 General Rate Application – 2nd Compliance Filing
YUB-YEC-1-15 (a)
Table 1: 2018 Illustrative Example
|  | 2018 GRA |  | Assumed 2018 Actual in Illustrative Example
|  | A |  | B
Total Thermal
1 | YEC Net Diesel/LNG | 16355.2181 |  | 36400 | MW.h
2 | Diesel | 1635.5218 |  | 6628 | MW.h
3 | LNG | 14719.6963 |  | 29772 | MW.h
4 | Diesel Fuel Cost per kW.h | 26.333 |  | 26.333 | cents/kW.h
5 | LNG Fuel Cost per kW.h | 14.668 |  | 14.668 | cents/kW.h
6=2*4/100+3*5/100 | Total YEC Thermal Cost before LWRF | 2589.767 |  | 6112.3082 | $000
7 | Transfers to/(from) LWRF |  |  | -922.0501 | $000
8 | Diesel transfer (volume) |  |  | -2172.5852 | MW.h
9 | LNG transfer (volume) |  |  | -2385.7598 | MW.h
10=8*4/100 | Diesel transfer ($) | 0 | 0 | -572.1069 | $000
11=9*5/100 | LNG transfer ($) | 0 | 0 | -349.9432 | $000
12=6+7 | Total YEC Thermal Cost after LWRF | 2589.767 |  | 5190.2581 | $000
Notes:
1. GRA column reflects 2018 forecast in the 2017/18 GRA.
2. Assumed actual reflects Actual 2018 example provided in October 8, 2019 Technical Session, page 22.
3. The load for assumed actual is YEC Grid load net of expected Fish Lake and Wind.
4. Diesel and LNG fuel prices are based on 2017/18 GRA approved prices. Variations form these fuel prices variations are included in DFPVA.