## 5 MW Faro rental (15 years)
YEC 2023/24 GRA
YUB-YEC-1-48 Attachment 1
Faro Diesel Rental LCOC for 3 units 1.8 MW each
[6 empty] | Weighted Average Cost of Capital | 6.018%
Winter MW |  | 5.4 |  |  |  | Inflation Rate | 2%
[6 empty] | Real Weighted Average Cost of Capital | 3.939%
O&M (Fixed) per MW |  | 2024 | 220.4697 | $000/MW
O&M (Fixed) |  | 2024 | 1190.5363 | $000/yr |  | PV of 15 Year Cost at 2024$ ($000) | 15664.1215
[6 empty] | Project LCOC ($/MW) | 249944.3188
Life |  |  | 15 | years
Rental escalation |  |  | 4% | per yr
Year | Faro Diesel Rental LCOC |  |  |  | Year from In-service | Annual Winter Capacity MW, 5.4
| Year-End Balance | Depr | Return | O&M
| $000 | $000 | $000 | $000
2024 |  |  |  | 1190.5363 | 1 | 5.4
2025 |  |  |  | 1238.1578 | 2 | 5.4
2026 |  |  |  | 1287.6841 | 3 | 5.4
2027 |  |  |  | 1339.1914 | 4 | 5.4
2028 |  |  |  | 1392.7591 | 5 | 5.4
2029 |  |  |  | 1448.4695 | 6 | 5.4
2030 |  |  |  | 1506.4082 | 7 | 5.4
2031 |  |  |  | 1566.6646 | 8 | 5.4
2032 |  |  |  | 1629.3311 | 9 | 5.4
2033 |  |  |  | 1694.5044 | 10 | 5.4
2034 |  |  |  | 1762.2846 | 11 | 5.4
2035 |  |  |  | 1832.7759 | 12 | 5.4
2036 |  |  |  | 1906.087 | 13 | 5.4
2037 |  |  |  | 1982.3305 | 14 | 5.4
2038 |  |  |  | 2061.6237 | 15 | 5.4
NPV |  |  |  | 15664.1215
Notes:
1. Diesel rental cost is based on forecast for 2024, includes equipment rental cost, transportation cost and commissioning cost.
2. Weighted average cost of capital is based on proposed ROE at 8.70% and new long term debt cost at 4.23%.

## 5 MW - Faro (15 years)
YEC 2023/24 GRA
YUB-YEC-1-48 Attachment 1
Diesel Replacement Options - Faro 5 MW
[6 empty] | Weighted Average Cost of Capital | 6.018%
Winter MW |  | 5 |  |  |  | Inflation Rate | 2%
Capital ($000) | 2024 | 18175 |  |  |  | Real Weighted Average Cost of Capital | 3.939%
Fixed O&M | 2020 | 85 | $000/yr
Assumed Life |  | 40 | years |  |  | PV of 15 Year Cost at 2024$ ($000) | 15183.6221
[6 empty] | Project LCOC for 15 Years ($/MW) at 2024$ | 261659.4171
Year | Diesel Replacement Options - Faro 5 MW |  |  |  |  | Year from In-service | Annual Winter Capacity MW, 5
| Year-End Balance | Depr | Return | Fixed O&M | Total
| $000 | $000 | $000 | $000 | $000
2024 | 17720.625 | 454.375 | 1080.0994 | 92.0067 | 1626.4811 | 1 | 5
2025 | 17266.25 | 454.375 | 1052.7551 | 93.8469 | 1600.9769 | 2 | 5
2026 | 16811.875 | 454.375 | 1025.4108 | 95.7238 | 1575.5096 | 3 | 5
2027 | 16357.5 | 454.375 | 998.0665 | 97.6383 | 1550.0798 | 4 | 5
2028 | 15903.125 | 454.375 | 970.7222 | 99.591 | 1524.6883 | 5 | 5
2029 | 15448.75 | 454.375 | 943.3779 | 101.5829 | 1499.3358 | 6 | 5
2030 | 14994.375 | 454.375 | 916.0336 | 103.6145 | 1474.0232 | 7 | 5
2031 | 14540 | 454.375 | 888.6893 | 105.6868 | 1448.7512 | 8 | 5
2032 | 14085.625 | 454.375 | 861.3451 | 107.8006 | 1423.5206 | 9 | 5
2033 | 13631.25 | 454.375 | 834.0008 | 109.9566 | 1398.3323 | 10 | 5
2034 | 13176.875 | 454.375 | 806.6565 | 112.1557 | 1373.1872 | 11 | 5
2035 | 12722.5 | 454.375 | 779.3122 | 114.3988 | 1348.086 | 12 | 5
2036 | 12268.125 | 454.375 | 751.9679 | 116.6868 | 1323.0297 | 13 | 5
2037 | 11813.75 | 454.375 | 724.6236 | 119.0205 | 1298.0191 | 14 | 5
2038 | 11359.375 | 454.375 | 697.2793 | 121.4009 | 1273.0553 | 15 | 5
NPV |  |  |  |  | 15183.6221
Notes:
1. Faro diesel replacement cost as per Table 5.1A-1.1 in Tab 5.
2. Weighted average cost of capital is based on proposed ROE at 8.70% and new long term debt cost at 4.23%.